	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Juan D. Salinas III

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
April 18, 2007
RE:
Hutton Subdivision – Pct. 3

Final Approval 
Hutton Subdivision is a two (2) commercial lot subdivision located on the South FM 495, approximately 405 feet East of Moorefield Road.

The proposed Subdivision lies within the City of Mission E.T.J. and was approved by the Planning and Zoning and City Commission of said City.

The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on December 22, 2006.  The proposed subdivision lies within Zone “C” as per FEMA’s FIRM.

Sanitary Services will be provided by OSSF.  The septic tank systems have been installed, inspected and can be expected to function satisfactorily.

Water Services will be provided by North Alamo Water Supply Corporation.  There is an existing eight (8) inch waterline on FM 495 that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  
The Hidalgo County Advisory Board convened and recommended Final Approval on April 17, 2007.
1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


