	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Juan D. Salinas III

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
April 18, 2007

RE:
Linn-Tex Subdivision – Pct. 4

Final Approval with Financial Guarantee
Linn-Tex Subdivision is a three (3) lot subdivision located on the East side of US Highway 281 approximately 2250 feet South of Palm Drive.

The proposed Subdivision lies within the Rural Area of the County.

The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on January 21, 2007.  The proposed subdivision lies within Zone “A & C” as per FEMA’s FIRM.

Sanitary Services will be provided by OSSF.  Soil Analysis were conducted by Jose Angel Gonzalez and approved by the Hidalgo County Environmental Health Department.  There are two (2) existing septic tank systems on the property.
Water Services will be provided by City of Edinburg.  There is an existing two (2) inch waterline along US Hwy. 281 that will serve as the primary source of water for the proposed development.

The Subdivision received Preliminary Approval from the Hidalgo County Commissioner’s Court on February 27, 2007.  The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  
The Subdivider is requesting Final Approval with Financial Guarantee.  A Cash Deposit in the amount of $1,000.00 was submitted to the Planning Department.  The Cash Deposit will be used to secure the funds for the installation of one (1) septic tank system.
The Hidalgo County Advisory Board convened and recommended Final Approval with Financial Guarantee on April 17, 2007.
1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


