	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Juan D. Salinas III

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
April 18, 2007

RE:
Re-subdivision of Portion of Lot 187, Los Venados Ph. 2 and Lots 440 & 441, Los Venados Phase 4 Subdivision – Pct. 4

Final Approval with Financial Guarantee
Re-subdivision of Portion of Lot 187, Los Venados Ph. 2 and Lots 440 & 441, Los Venados Phase 4 Subdivision is a five (5) lot subdivision located on the East side of Expressway 281, approximately two miles from the Southeast intersection with FM 186.

The proposed Subdivision lies within the Rural Area of the County.

The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on April 12, 2007.  The proposed subdivision lies within Zone “C” as per FEMA’s FIRM.

Sanitary Services will be provided by OSSF.  Soil Analysis were conducted by Jose Angel Gonzalez and approved by the Hidalgo County Environmental Health Department.
Water Services will be provided by City of Edinburg.  There is an existing eight (8) inch waterline along SH 186 that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  
The Subdivider is requesting Final Approval with Financial Guarantee.  A Cash Deposit in the amount of $3,000.00 was submitted to the Planning Department.  The Cash Deposit will be used to secure the funds for the installation of three (3) septic tank systems.
The Hidalgo County Advisory Board convened and recommended Final Approval with Financial Guarantee on April 17, 2007.
1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


