	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Juan D. Salinas III
County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
April 18, 2007

RE:
Texas Station Phase 2 Subdivision – Pct. 4

Preliminary Approval 
Texas Station Phase 2 is a eighteen (18) residential and one (1) commercial lot subdivision located on the North side of FM 2812, approximately 330 feet West from Sharp Road.

The proposed Subdivision lies within the Rural Area of the County.

The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on April 13, 2007.  The proposed subdivision lies within Zone “X” as per FEMA’s FIRM.

The proposed subdivision plat will dedicate twenty (20) feet on FM 2812 of additional Road Right of Way in accordance with the Hidalgo County Thoroughfare Plan. 

Sanitary Services will be provided by OSSF.  Soil Analysis were conducted by Jose Angel Gonzalez and approved by the Hidalgo County Environmental Health Department.  

Water Services will be provided by North Alamo Water Supply Corporation.  There is an existing twelve (12) inch waterline on FM 2812 that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  Staff comments are attached for your review.

The Hidalgo County Advisory Board convened and recommended Preliminary Approval on April 17, 2007 subject to staff comments and future recommendations by Planning and other departments.
[image: image2.png]Name of Subdivision:

LOG OF ITEMS LACKING
DURING SUBDIVISION REVIEW

Texas Station Phs IT 15Review

Page

1of2

This form lists the documents lacking during the process of seeking subdivision approval. The County official
receiving a document should upon its receipt fill out and initial an entry for the items lacking and then write the
log number on the document. If needed use more than one line for the description

Item
Log
#

Description of Item

Date

Logger’s
Initials

A

1°" SHEET COMMENTS:
Provide site plans for all lots affected by gas esmnt and tie down
dimension from lot line to esmnt line.

04-13-07

JRT

Label who does gas line belongs to and if existing esmnt provide recorded
documentation or label dedication by this plat.

(13

Provide name of adjoining subdivision toward the east with volume and
page number.

(13

(13

Trim drainage swale esmnt line with north lot line of 1ot 213

(13

(1%

As per index to sheet description; provide engineer, HCDD#1 and
irrigation district for sheet one, and subdivider certificate and statement for
sheet 2. (refer to redlines)

PLAT NOTES:
#2) Front setback for lots fronting FM 2812 should be of minimum of 50
feet or esmtn whichever is greater.
#6) Provide total cubic feet and acre feet calculation from approved
drainage report.
#13&14) Provide correct restriction wording for plat notes.
#15) Explain how this lot will have access on to public street.
#16) Provide correct lot number for commercial use only.
#17) how does this plat note applies to subdivision, verify lot numbers.
->Provide cross hatch area plat note.

METES & BOUNDS:
e Beginning Point; verify description of POB and distance from
point of commencing. Modification should reflect on drawing by
labeling the correct POB and distance from SE corner of LOT 16.
2P callout: Total existing road ROW for FM 2812 is 40 feet center
with ROW, therefore callout should be refer at 20 feet for the north
ROW line.

[13

13

2"° SHEET COMMENTS:
Show irrigation esmnt and line connecting stand pipe on lot 207 or label if
it will be remove or if is abandoned.

WATER engineering report; please explain if existing dual services will
be relocated to new lots and also mention how many new service laterals
will be proposed for the remaining lot.

13

(13

SEWAGER engineering report; Provide correct wording (see attachment)

(13

111

Don’t show OSSF on lot 1 of Texas Station Phs I and rotate text for the
existing 12” water line on FM 2812.

(19

(13





[image: image3.png]LOG OF ITEMS LACKING
DURING SUBDIVISION REVIEW

Name of Subdivision: Texas Station Phs II 1% Review Page 20f2
Item Logger’s
Log | Description of Item Date Initials
#
L | Correct lot numbers for typ detail of service line and water meter boxes. 04-13-07 JRT
M | All modification on WATER & SEWAGE report needs to reflect on “ «
Spanish version.
N 3*” SHEET COMMENTS: “ «
Show natural water flow arrows, and extend topo elevation 500 feet.
O | Text is not legible on elevation notation along the FM 2812 ROW and “ “
subdivision property line.
P | Label condition of FM 2812 stree if paved, caliche or dirt road and provide
width dimension.
Q | Label for contractor to re grade FM 28212 road side ditch.
R | Verify with HCROW dept. on the existing 36 gatewell inside additional “ “
road ROW by this plat in front of lot 214,
S | Show only the new location of the drainage swale and as per the existing “ “
swale label to be fill and relocated on new esmnt.
T | Will co. spillway be removed? Please label. “ “
S | Provide approved drainage report by HCDD#1 on this sheet. “ “
U | Submit a copy of NOI application and certify receipt.

Plat is subject to additional comments from Planning, Right of Way,
Health, and HCDD No. 1 prior to consideration for final approval.





1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


