	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Juan D. Salinas III

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
May 2, 2007

RE:
Leal Estates Subdivision – Pct. 3

Final Approval with Financial Guarantee
Leal Estates is a two (2) lot subdivision located on the West side of Bentsen Palm Drive, approximately 600 feet North of Mile 3 North Road.
The proposed Subdivision lies within the City of Mission E.T.J. and was approved by the Planning and Zoning and City Commission of said City.

The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on January 30, 2006.  The proposed subdivision lies within Zone “C” as per FEMA’s FIRM.

The proposed subdivision plat will dedicate five (5) feet on Bentsen Palm Drive of additional Road Right of Way in accordance with the Hidalgo County Thoroughfare Plan. 

Sanitary Services will be provided by O.S.S.F.  Soil Analysis were conducted by Joseph Sai, P.E. and approved by the Hidalgo County Environmental Health Department.  

Water Services will be provided by Sharyland Water Supply Corporation.  There is an existing six (6) inch waterline on Bentsen Palm Drive that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  
The Subdivision received Preliminary Approval from the Hidalgo County Commissioner’s Court on September 12, 2006.  The Subdivider is requesting Final Approval with Financial Guarantee.  A Cash Deposit in the amount of $3,000.00 was submitted to the Planning Department and deposited into Escrow for Septic Tanks Account.  The Cash Deposit will be used to secure the funds for the installation of two (2) septic tank systems. 
The Hidalgo County Advisory Board convened and recommended Final Approval with Financial Guarantee on May 1, 2007.
1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


