	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Juan D. Salinas III

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
May 2, 2007

RE:
Pueblo de Palmas Phase 10 Subdivision – Pct. 4

Preliminary Approval 
Pueblo de Palmas Phase 10 is an one hundred eight (108) lot subdivision located on the Southeast corner of FM 2812 and Kenyon Road. 
The proposed Subdivision lies within the City of Edinburg E.T.J.

The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on April 17, 2007.  The proposed subdivision lies within Zone “X” as per FEMA’s FIRM.

The proposed subdivision plat will dedicate thirty (30) on FM 2812, ten (10) feet on Kenyon Road and ten (10) feet on Ingle Road on Owassa Road of additional Road Right of Way in accordance with the Hidalgo County Thoroughfare Plan. 

Sanitary Services will be provided by the City of Edinburg.
Water Services will be provided by North Alamo Water Supply Corporation.  There is an existing twelve (12) inch waterline on FM 2812 that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  Staff comments are attached for your review.

The Hidalgo County Advisory Board convened and recommended Preliminary Approval on May 1, 2007 subject to staff comments, future recommendations by Planning and other departments and the approval from the City of Edinburg.
[image: image2.png]Name of Subdivision:

LOG OF ITEMS LACKING
DURING SUBDIVISION REVIEW

Pueblo De Palmas Phs 10 3™ Review

Page

1ofl

This form lists the documents lacking during the process of seeking subdivision approval. The County official
receiving a document should upon its receipt fill out and initial an entry for the items lacking and then write the
log number on the document. If needed use more than one line for the description.

Item Logger’s
Log | Description of Item Date Inmitials
#
A 1°" SHEET COMMENTS: 04-25-07 JRT
length for a 50x50 feet corner clips on FM 2812 and Ingle Rd street
intersection with Kenyon Road should be of 70.71 feet verify this and
correct on line table data chart (see attach exhibit sample).
B 2" SHEET COMMENTS: « «
Provide Notary public acknowledgment certification on subdivider
certificate and statement.
C | All total amount like the 30 year letter agreement fee from NAWSC, cost to “ “

construct the water line distribution system, sanitary sewer fees paid to city
of Edinburg and construction amount for sewer line distribution system
should be provided on original final plat engineers reports prior to final
approval.

Plat is subject to additional comments from Planning, Right of Way,
Health, and HCDD No. 1 prior to consideration for final approval.





1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


