	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Juan D. Salinas III

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
May 2, 2007

RE:
Pueblo de Palmas Phase 8 Subdivision – Pct. 3

Preliminary Approval 
Pueblo de Palmas Phase 8 is a ninety four (94) lot subdivision located approximately 4858 feet South of its intersection with Mile 7 Road (FM 2221) and Sago Palm Drive.

The proposed Subdivision lies within the Rural Area of the County.

The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on August 24, 2004.  The proposed subdivision lies within Zone “C” as per FEMA’s FIRM.

The proposed subdivision plat will dedicate 23.50 feet on Mile 5 ½ Road of additional Road Right of Way in accordance with the Hidalgo County Thoroughfare Plan. 

Sanitary Services will be provided by OSSF.  Soil Analysis were conducted by Isidoro Gomez and approved by the Hidalgo County Environmental Health Department.  

Water Services will be provided by La Joya Water Supply Corporation.  There is an existing eight (8) inch waterline on Date Palm Drive, an existing eight (8) inch waterline on Queen Palm Drive and an existing ten (10) inch on Washington Palm Drive that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  Staff comments are attached for your review.

The Hidalgo County Advisory Board convened and recommended Preliminary Approval on May 1, 2007 subject to staff comments and future recommendations by Planning and other departments.
[image: image2.png]LOG OF ITEMS LACKING
DURING SUBDIVISION REVIEW

Name of Subdivision: Pueblo de Palmas Phs 8 1%'Review Page 1 of2

This form lists the documents lacking during the process of seeking subdivision approval. The County official
receiving a document should upon its receipt fill out and initial an entry for the items lacking and then write the
log number on the document. If needed use more than one line for the description.

Item Logger’s
Log | Description of Item Date Initials
#
A 1°" SHEET COMMENTS: 04-26-07 JRT
PLAT NOTES:

#5) Provide a permanent BM with in the subdivision (concrete slab w/
disk, elevation and datum)
#6) Correct acre feet conversion from total cubic feet detention.

B | METES & BOUNDS: “ «“

e 5™ 10" and 14" callout: verify distances they do not coincide with
drawing.

e The far north section of this subdivision is not being describe on
metes and bounds (s 80d 45°00”w...ect)

C | INDEX TO SHEETS CHART: “ “
Correct by mention the fallowing for each sheet:
e sheet 1: mention the engineer certification
e Sheet 3: Subdivider certificate and statement
e Sheet 4: construction details.

D | Correct new population for city of Mission as per 2005 census (60,146) “ “

E 2"° SHEET COMMENTS: “ “
Provide west and south west adjoining property owners name and
document number.

F | Provide correct recording document number for Pueblo de Palmas Phs 6 “ «
east adjoining subdivision.

Label ownership of the existing drainage ditch with its document number « «“
toward the south west corner of this subdivision.

T Q@

Label to who will drainage ditch ROW be dedicated. « «

» 3"° SHEET COMMENTS: “ «
WATER ENGINEER REPORT:

Correct paragraph to read “existing 8 water line along and with in the east
ROW of Date Palm Drive” for all describe water lines. Also mention what
water line and size will be extended west.

J | All total amount regarding 30 year letter, construction cost for water “ «“
distribution, and letter of credit for OSSF should be provide prior to final
original subdivision plat.

K | All modification on engineer report need to reflect on Spanish version. “ ¢

L | Provide notary public certification and acknowledgment block for “ “
subdivider certificate and statement.





[image: image3.png]LOG OF ITEMS LACKING
DURING SUBDIVISION REVIEW

Name of Subdivision: Pueblo de Palmas Phs 8 IStReview Page 20f2
M | Provide Spanish reports for water and sewage engineer reports. 04-26-07 JRT
N | Correct north arrow direction. “ “
O | Provide HCROW dept water line crossing permit for mile 5 % North. “ “
P | Provide final engineer cost estimate prior to final original plat approval. “ «“
Q 4" SHEET COMMENTS: « “

Provide street grading elevation for all proposed streets.
R | Label and show all drainage swales and provide cross section detail. “ “

Plat is subject to additional comments from Planning, Right of Way,
Health, and HCDD No. 1 prior to consideration for final approval.





1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


