	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Juan D. Salinas III

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
May 2, 2007

RE:
Pueblo de Palmas Phase 9 Subdivision – Pct. 3

Preliminary Approval 
Pueblo de Palmas Phase 9 is a ninety seven (97) lot subdivision located approximately 5650 feet South of its intersection with Mile 7 Road (FM 2221) and Sabal Palm Drive.

The proposed Subdivision lies within the Rural Area of the County.

The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on September 13, 2004.  The proposed subdivision lies within Zone “A & C” as per FEMA’s FIRM.

The proposed subdivision plat will dedicate 23.50 feet on Mile 5 ½ Road of additional Road Right of Way in accordance with the Hidalgo County Thoroughfare Plan. 

Sanitary Services will be provided by OSSF.  Soil Analysis were conducted by Isidoro Gomez and approved by the Hidalgo County Environmental Health Department.  

Water Services will be provided by La Joya Water Supply Corporation.  There is an existing eight (8) inch waterline on Sabal Palm Drive that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  Staff comments are attached for your review.

The Hidalgo County Advisory Board convened and recommended Preliminary Approval on May 1, 2007 subject to staff comments and future recommendations by Planning and other departments.
[image: image2.png]LOG OF ITEMS LACKING
DURING SUBDIVISION REVIEW

Name of Subdivision: Pueblo de Palmas Phs 9 1" Review Page  1of2

This form lists the documents lacking during the process of seeking subdivision approval. The County official
receiving a document should upon its receipt fill out and initial an entry for the items lacking and then write the
log number on the document. If needed use more than one line for the description.

Item Logger’s
Log | Description of Item Date Initials
#
A 1°" SHEET COMMENTS: 04-26-07 JRT
PLAT NOTES:

#1) Base on the letter and case #00-06-1815A, have areas been filled or
not? Please re word this note

#5) Provide a permanent BM with in the subdivision (concrete slab w/
disk, elevation and datum)

#6) Correct acre feet conversion from total cubic feet detention.

B | METES & BOUNDS: « “

e 1% callout: refer this property line also to the west line of 150 feet
HCDD #1 Drainage esmnt.

e 2™ and 17" Callout: mention the east/west line of the existing 150
drain ditch easement.

o 5™ 7" 9™ and 14™ callout: distances don’t coincide with property
dimension on drawing.

C | INDEXTO SHEETS CHART: “ “
Correct by mention the fallowing for each sheet:
e sheet 1: mention the engineer certification
e Sheet 3: Subdivider certificate and statement
e Sheet 4: construction details.

D | Correct new population for city of Mission as per 2005 census (60,146) “ “

E 2"° SHEET COMMENTS: < 7
Provide subdivision name for the north and east adjoiner.

F | Documents number for existing HCDD#1 Drainage ROW is for an “ “
EASEMENT not a ROW verify this and correct.

G | Provide street name for existing 33.80 feet Road ROW. “ “

H | Label to who will drainage ditch ROW be dedicated. ¢ “

I Show location of division line of flood zone “A” and “C”. “ ¢

J 3" SHEET COMMENTS: “ “
Provide Spanish reports for water and sewage engineer reports.

K | Provide notary public certification and acknowledgment block for «“ “
subdivider certificate and statement.

L | All total amount regarding 30 year letter, construction cost for water “ “
distribution, and letter of credit for OSSF should be provide prior to final
original subdivision plat.




[image: image3.png]LOG OF ITEMS LACKING
DURING SUBDIVISION REVIEW

Name of Subdivision: Pueblo de Palmas Phs 9 1%'Review Page 20f2
M | All modification on engineer report need to reflect on Spanish version. 04-26-07 JRT
N | Provide HCROW dept water line crossing permit for all lot services. “ “
O | Provide final engineer cost estimate prior to final original plat approval. “ “
P | Provide approved drainage report from HCDD#1 on this sheet. “ “
Q | Provide flange elevation for all proposed fire hydrants. “ “
R 4" SHEET COMMENTS: “ “

Provide street grading elevation for all proposed streets.
S | Label and show all drainage swales and provide cross section detail. “ “
T | Provide top and invert elevations for all typ “CC” inlets and construction “ “
detail.
U | Label existing condition of mile 5 ¥2 North if paved, caliche or dirt road. “ “

If street is not paved then developer will have to provide 1/3 escrow.

Plat is subject to additional comments from Planning, Right of Way,
Health, and HCDD No. 1 prior to consideration for final approval.





1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


