	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Juan D. Salinas III

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
May 16, 2007

RE:
Corin Estates Phase I Subdivision – Pct. 4

Final Approval with Financial Guarantee
Corin Estates is a two (2) commercial lot subdivision located on the North side of SH 107 approximately, 660 feet East of Valverde Road. 
The proposed Subdivision lies within the Rural Area of the County.

The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on June 26, 2006.  The proposed subdivision lies within Zone “X” as per FEMA’s FIRM.

Sanitary Services will be provided by OSSF.  Soil Analysis were conducted by Aniceto Izaguirre and approved by the Hidalgo County Environmental Health Department.  
Water Services will be provided by North Alamo Water Supply Corporation.  There is an existing six (6) inch waterline on S.H. 107 that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  
The Subdivision received Preliminary Approval from the Hidalgo County Commissioner’s Court on July 25, 2006.  The Subdivider is requesting Final Approval with Financial Guarantee.  A Cash Deposit in the amount of $2,000.00 was submitted to the Planning Department and deposited into Escrow.  The Cash Deposit will be used to secure the funds for the installation of two (2) septic tank systems.
The Hidalgo County Advisory Board convened and recommended Final Approval with Financial Guarantee on May 15, 2007.
1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


