	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Juan D. Salinas III

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
May 16, 2007

RE:
Rios Apartment Complex Phase I – Pct. 4

Preliminary Approval 
Rios Apartments Subdivision is a one (1) multi family/commercial lot subdivision located on the North side of Alberta Road approximately 2376 feet West from the intersection of Valverde Road.

The proposed Subdivision lies within the Rural Area of the County.

The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on April 25, 2007.  The proposed subdivision lies within Zone “C” as per FEMA’s FIRM.

The proposed subdivision plat will dedicate twenty (20) feet on Alberta Road of additional Road Right of Way in accordance with the Hidalgo County Thoroughfare Plan. 

Sanitary Services will be provided by OSSF.  Soil Analysis were conducted by Isaac Mata and approved by the Hidalgo County Environmental Health Department.  

Water Services will be provided by North Alamo Water Supply Corporation.  There is an existing three (3) inch waterline on Alberta Road that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  Staff comments are attached for your review.

The Hidalgo County Advisory Board convened and recommended Preliminary Approval on May 15, 2007 subject to staff comments and future recommendations by Planning and other departments.
[image: image2.png]LOG OF ITEMS LACKING
DURING SUBDIVISION REVIEW

Name of Subdivision: Rio Apartments 2ndReview Page 1of2

This form lists the documents lacking during the process of seeking subdivision approval. The County official
receiving a document should upon its receipt fill out and initial an entry for the items lacking and then write the
log number on the document. If needed use more than one line for the description

Item Logger’s
Log | Description of Item Date Initials
#
A 1°" SHEET COMMENTS: 05-11-07 JRT

As per vicinity map show location of the 2 mi ETJ line for city of Edinburg
and the 5 mi ETJ line for the city of Donna. Provide a north arrow and
provide correct engineering scale.

B | Correct subdivision location description: « «

1. Correct city of Donna new population as per 2005 census.

2. Verify with city of Donna if property falls out/inside their ETJ. Our
map provide by the city show that is outside their 5 mile ETJ.

C PLAT NOTES: “ «“
#1)Provide flood zone description

#2) Reword this note to restrict subdivision lot to

“MULTI FAMILY/COMMERCIAL” use only (see attachment).
#3)Provide correct wording restriction (see attach sample)

#8) Provide correct cubic feet and acre feet as per approved drainage report.
See attachment for addition plat notes.

D METES & BOUNDS: « «
As per 2" and 3" callout, verify existing canal row esmnt width dimension.
E 2"° SHEET COMMENTS: z «

Label for contractor to re grade Alberta road side ditch.

F | Label Alberta street pavement width dimension. “ “

G | Provide HCROW dept water line crossing permit on Alberta Road ROW. « «“

H | Provide a drainage swale esmnt for proposed swale and label the overflow « «
structure being shown on design for outfall on to detention pond.
I | Provide Topography elevation with in subdivision and extend topo elevations « «

500 feet east and west of subdivision.

J | Provide cross section detail of detention pond and provide elevation for swale
grading water flow.

K | See attach sample for water and sewage engineering report. All modification «“ “
needs to reflect on Spanish version.

L | See first sheet comments for vicinity map and location description. “ «“

Plat is subject to additional comments from Planning, Right of Way,
Health, and HCDD No. 1 prior to consideration for final approval.





1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


