	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Juan D. Salinas III

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
May 22, 2007
RE:
Taurus Estates No. 21 Subdivision – Pct. 3

Preliminary Approval 
Taurus Estates No. 21 Subdivision is a two hundred twenty five (225) lot subdivision located on the South side of FM 2221 adjacent to Pueblo de Palmas Phases 2 & 3 Subdivision.

The proposed Subdivision lies within the Rural Area of the County.

The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on May 18, 2007.  The proposed subdivision lies within Zone “C & A” as per FEMA’s FIRM.

Sanitary Services will be provided by OSSF.

Water Services will be provided by La Joya Water Supply Corporation.  There is an existing twelve (12) inch waterline on FM 2221 Road that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  Staff comments are attached for your review.

The Hidalgo County Advisory Board convened and recommended Preliminary Approval on May 21, 2007 subject to staff comments and future recommendations by Planning and other departments.
[image: image2.png]LOG OF ITEMS LACKING
DURING SUBDIVISION REVIEW

Name of Subdivision: Taurus Estates N0.21 1%Review Page 1of2

This form lists the documents lacking during the process of seeking subdivision approval. The County official
receiving a document should upon its receipt fill out and initial an entry for the items lacking and then write the
log number on the document. If needed use more than one line for the description

Item Logger’s
Log | Description of Item Date Initials
#
A 1°" SHEET COMMENTS: 05-18-07 JRT
Provide bearing for all lot corner clips and for lots C3 and C4 irregular lot
line.

B | Dimension the total road ROW and provide offset distance for proposed “ “
subdivision entrance from exiting subdivision on the north.

C | Provide topography contours with in subdivision and a curve data chart for “ «“
all lots in a cul-de-sac.

D | As per the west adjoiner Robert E. Gregg Subdivision label all the existing « «
40 foot road ROW not open/not in use.

E | Correct index to sheet by deleting the irrigation district certification “ «
approval because it will not be require in this subdivision.

F 2"P SHEET COMMENTS: w =
Show exiting 150° HCDD#1 Ditch easement east of this subdivision.

G | Correct LIWSC easement width on lots 96 and 149 because minimum size “« “«
for a LYIWSC easement is 15 feet.

H | Provide front dimension for lot 159. “ «

I PLAT NOTES: “ “
5) Provide a permanent BM with subdivision on a concrete slab with disk.
6) provide total detention cubic feet and acre feet.

-> Provide a plat note restricting access on to lots C3, C4, C10 and C11
from FM 2221 unless use for commercial and lot site plan and drainage
plans are approved by the Hidalgo County Planning Department at the
time of application for construction prior to the issuance of a building
and/or development permit.

->see attachment for additional plat note regarding TXDOT permit for
subdivision entrance and driveway permits for lots fronting FM2221.

J METES AND BOUNDS: « «
Verify distance on 10™ callout because it does not coincide with dimension
on drawing.

K | WATER ENGINEERING REPORT: “ “
Add the following wording before the last sentence of the paragraph,
“Thus in any event, all the water meters will be installed and the entire
water facilities will be...”

L | Provide the 30 year letter agreement total amount and the total cost for « “
water distribution system prior to final original plan

M | Provide flange elevation for all proposed fire hydrants. « “




[image: image3.png]LOG OF ITEMS LACKING
DURING SUBDIVISION REVIEW

Name of Subdivision: Taurus Estates No.21 1%'Review

Page

20f2

N 3" SHEET COMMENTS:
Provide topography elevations, contours and natural water flow arrows
within subdivision. Also extend topo elevation 500’

05-18-07

JRT

O | Provide typ III barricades at both dead ends of cul-de-sacs.

(13

P | Submit an approved drainage report approved by HCDD#1 and a copy of
the NOI submitted to TCEQ.

(13

Plat is subject to additional comments from Planning, Right of Way,
Health, and HCDD No. 1 prior to consideration for final approval.





1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


