	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Juan D. Salinas III

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
June 12, 2007
RE:
Gamez Subdivision – Pct. 1

Preliminary Approval 
Gamez Subdivision is a one (1) lot subdivision located on the North side of Mile 9 North approximately 800 feet West of Mile 1 ½ West Road.

The proposed Subdivision lies within the Weslaco E.T.J.
The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on February 12, 2007.  The proposed subdivision lies within Zone “X Shaded” as per FEMA’s FIRM.

The proposed subdivision plat will dedicate twenty (20) feet on Mile 9 North Road of additional Road Right of Way in accordance with the Hidalgo County Thoroughfare Plan. 

Sanitary Services will be provided by OSSF.  Soil Analysis were conducted by Jose A. Gonzalez and approved by the Hidalgo County Environmental Health Department.
Water Services will be provided by North Alamo Water Supply Corporation.  There is an existing two (2) inch waterline on Mile 9 North Road that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  Staff comments are attached for your review.

The Hidalgo County Advisory Board convened and recommended Preliminary Approval on June 11, 2007 subject to staff comments, future recommendations by Planning and other departments and the approval from the City of Weslaco.
[image: image2.png]Name of Subdivision:

LOG OF ITEMS LACKING
DURING SUBDIVISION REVIEW

Gamez IStReview

Page

10f2

This form lists the documents lacking during the process of seeking subdivision approval. The County official
receiving a document should upon its receipt fill out and initial an entry for the items lacking and then write the
log number on the document. If needed use more than one line for the description

Item
Log
#

Description of Item

Date

Logger’s
Initials

A

1°" SHEET COMMENTS:
Front setback line is incorrect it should be at 50 feet as per MPO, but
either way please don’t show line and make correction only on front
setback general plat note.

06-05-07

JRT

Provide north adjoiners name and property document number.

(13

[14

METES & BOUNDS:
Correct point of beginning description and each monument to coincide
with drawing labeling and legend. Also correct total net square footage for
property and Right of way.

(13

PLAT NOTES:

1] Correct flood zone, panel number, map revised date and date to revised
to reflect LOMR.
2] Front setback is 50 feet
4] Note should read, “elevation certificate MAY BE REQUIRE for all lots
OUTSIDE a designated flood zone...” see attach sample.
7] Mention that “the lot owner shall be responsible for the maintenance of
the drainage swale.”
12] Add the following to the last sentence, “and proposed improvements
are constructed in accordance with county and state standards.”
- see attachment for additional plat note:

e Each purchaser contract...

13

Correct city of Weslaco new population as per 2005 census 34,442 on
subdivision location description.

(13

(13

Make vicinity map to scale and show assign engineer scale for map.

13

2"° SHEET COMMENTS:
As per HCROW department please relocate proposed fire hydrant outside
mile 9 North Road ROW inside the proposed 15 foot exclusive NAWSC
easement. Label Fire hydrant with flange elevation and provide crossing
permit from ROW dept.

(1%

Label hidden line discharging to Mile 9 North Road side ditch, if it’s a
swale please provide a 15 foot easement and show it on 1% sheet.

(13

(13

Verify if theirs an existing easement inside Mile 9 North Road for over
head power lines.

[13

(13

Correct subdivider statement to read that “sewer permit are REQUIRED
prior to building on any lot and that ...” because owner is provide a letter
of credit to secure the funds for each OSSF.

(13

[13

Engineer Water Report: Please correct the 2™ sentence where you are
describing what will be proposed to serve water to this subdivision.

(13





[image: image3.png]LOG OF ITEMS LACKING
DURING SUBDIVISION REVIEW

Name of Subdivision: Gamez IStReview

Page

20f2

L | Provide all total amounts on water and sewage engineering report and
water meters and OSSF installation dates prior to final approval.

06-05-07

JRT

M | All modification on water and sewage report need to reflect on Spanish
version.

(13

Plat is subject to additional comments from Planning, Right of Way,
Health, and HCDD No. 1 prior to consideration for final approval.





1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


