	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Juan D. Salinas III

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
June 12, 2007

RE:
RJF Subdivision – Pct. 1

Preliminary Approval 
RJF Subdivision is a three (3) lot subdivision located on the South side of Mile 8 ½ North Road approximately 720 feet East of its intersection with Midway Road.

The proposed Subdivision lies within the Weslaco E.T.J.
The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on February 22, 2007.  The proposed subdivision lies within Zone “X” as per FEMA’s FIRM.

The proposed subdivision plat will dedicate five (5) feet on Mile 8 ½ Road of additional Road Right of Way in accordance with the Hidalgo County Thoroughfare Plan. 

Sanitary Services will be provided by OSSF.  Soil Analysis were conducted by Jose A. Gonzalez and approved by the Hidalgo County Environmental Health Department.
Water Services will be provided by North Alamo Water Supply Corporation.  There is an existing eight (8) waterline on Mile 8 ½  North Road that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  Staff comments are attached for your review.

The Hidalgo County Advisory Board convened and recommended Preliminary Approval on June 11, 2007 subject to staff comments, future recommendations by Planning and other departments and the approval from the City of Weslaco.
[image: image2.png]LOG OF ITEMS LACKING
DURING SUBDIVISION REVIEW

Name of Subdivision: LI Page 1 of2
RJF 1 Review

This form lists the documents lacking during the process of seeking subdivision approval. The County official
receiving a document should upon its receipt fill out and initial an entry for the items lacking and then write the
log number on the document. If needed use more than one line for the description

Item Logger’s
Log | Description of Item Date Initials
#
A 1°" SHEET COMMENTS: 05-23-07 JG

Provide road names on location map and make text visible

B | Provide date surveyed on surveyors acknowledgement “ “
Add Jr. to owners name

C | State on location description that subd. is on the south side of Mile 8 1/2 «“ “
Correct city of Weslaco population 31,442

D | Seered lines on metes & bounds description for required corrections “ “
concerning acreage, topo monument descriptions, lengths and directions.
And identify n.w and n.e. corners of this subd.

Provide bearing from p.o.c.

E | Provide owners name and documents number for all adjoining property “ “
OWners.

F | Volume for West Tract is different on subdivision title legal description “ “
than that on metes & bounds description

G PLAT NOTES: “ «“
#3) State if there can be any other use or if there shall be no other use

#4) Replace top of curb w/ center line of road and use correct wording for
the rest of the note

#7) State that lot owner shall be responsible for the maintenance of the
swale

H | Verify south existing road r.o.w. (see Mariposa Subd. plat) “ «“

I | Show contours to coincide w/ topo on 2™ sheet “ “

7 | 2" Sheet shows a swale easement running north and south along the west “ “
lot line of lot 1 show this on 1% sheet (this easement should not overlap w/
utility easement)

K 2" SHEET COMMENTS: « <
Provide HCROW water line crossing permit for Mile 8 1/2 Rd.

L | Verify if there is an existing easement for over head power line inside road “ “
I.0.W.

M | Dimension existing asphalt “ «





[image: image3.png]LOG OF ITEMS LACKING
DURING SUBDIVISION REVIEW

Name of Subdivision; RJF IStR eview

Page

20f2

N

Road r.0.w. dimension is different on this sheet than on 1% sheet
See subdivider statement redlines for correct wording

(13

Provide all total amount and dead lines for installation dates on engineer
and sewage report prior to final review. Check these amounts with cost
estimate chart

(13

Plat is subject to additional comments from Planning, Right of Way,
Health, and HCDD No. 1 prior to consideration for final approval.





1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


