	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Juan D. Salinas III

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
June 12, 2007
RE:
Sahara Estates No. 2 Subdivision – Pct. 4

Final Approval with Financial Guarantee
Sahara Estates No. 2 Subdivision is a twenty one (21) lot subdivision located 1320 feet North from Alberta Road and 1329 feet East from Tower Road.

The proposed Subdivision lies within the Rural Area of the County.

The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on February 20, 2007.  The proposed subdivision lies within Zone “C” as per FEMA’s FIRM.

Sanitary Services will be provided by OSSF.  Soil Analysis were conducted by Jose Angel Gonzalez and approved by the Hidalgo County Environmental Health Department.  
Water Services will be provided by North Alamo Water Supply Corporation.  There is an existing six (6) inch waterline on Haven Lane that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  

The Subdivision received Preliminary Approval from the Hidalgo County Commissioner’s Court on March 13, 2007.  The Subdivider is requesting Final Approval with Financial Guarantee.  A Letter of Credit from First National Bank in the amount of $21,000.00 was submitted to the Planning Department and addressed to the County Judge and County Commissioner’s Court.  The Letter of Credit will be used to secure the funds for the installation of twenty one (21) septic tank systems.

The Hidalgo County Advisory Board convened and recommended Final Approval with Financial Guarantee on June 11, 2007.
1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


