	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Juan D. Salinas III

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
June 12, 2007

RE:
Stripes 2232 Subdivision – Pct. 4

Final Approval with Financial Guarantee
Stripes 2232 Subdivision is a one (1) commercial lot subdivision located on the Southeast corner of Richardson Road and S.H. 107.

The proposed Subdivision lies within the Rural Area of the County.

The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on May 07, 2007.  The proposed subdivision lies within Zone “X Shaded” as per FEMA’s FIRM.

Sanitary Services will be provided by OSSF.  Soil Analysis were conducted by Jaime M. Cantu and approved by the Hidalgo County Environmental Health Department.
Water Services will be provided by North Alamo Water Supply Corporation.  There is an existing 4 ½  inch waterline on Tower Road that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  
The Subdivider is requesting Final Approval with Financial Guarantee.  A Cash Deposit in the amount of  $1,500.00 was submitted to the Planning Department and deposited into Escrow Account No. 07-1100-211-00-000-018-0-000.  The Cash Deposit will be used to secure the funds for the installation of one (1) septic tank system.

The Hidalgo County Advisory Board convened and recommended Final Approval with Financial Guarantee on June 11, 2007.
1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


