	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Juan D. Salinas III

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
June 12, 2007
RE:
Taurus Estates No. 21 Subdivision – Pct. 3

Final Approval with Financial Guarantee
Taurus Estates No. 21 Subdivision is a two hundred twenty five (225) lot subdivision located on the South side of FM 2221 approximately 4000 feet West from Salida del Sol Drive.

The proposed Subdivision lies within the Rural Area of the County.

The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on May 18, 2007.  The proposed subdivision lies within Zone “C & A” as per FEMA’s FIRM.

Sanitary Services will be provided by OSSF.

Water Services will be provided by La Joya Water Supply Corporation.  There is an existing twelve (12) inch waterline on FM 2221 Road that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  
The Subdivision received Preliminary Approval from the Hidalgo County Commissioner’s Court on May 29, 2007.  The Subdivider is requesting Final Approval with Financial Guarantee.  A Letter of Credit from First National Bank in the amount of $1,543,170.19 was submitted to the Planning Department and addressed to the County Judge and County Commissioner’s Court.  The Letter of Credit will be used to secure the funds for the paving and drainage improvements and the installation of two hundred twenty five (225) septic tank systems.

The Hidalgo County Advisory Board convened and recommended Final Approval with Financial Guarantee on June 11, 2007.
1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


