	[image: image1.png]



Raul E. Sesin, P.E.

Planning Administrator

	PLANNING DEPARTMENT

COUNTY OF HIDALGO

1304 South 25th Street

Edinburg, Texas 78539

Tel. (956) 318-2840 ( Fax. (956) 318-2844



	
	


TO:
Judge Juan D. Salinas III

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
June 25, 2007

RE:
Paloma Del Valle Phase 3 Subdivision – Pct. 4

Final Approval 
Paloma Del Valle Phase 3 is a one hundred twelve (112) lot subdivision located on the South side of Ciguena Drive, approximately ¼ mile West from its intersection with Seminary Road.

The proposed Subdivision lies within the City of Edinburg E.T.J. and was approved by the Planning and Zoning and City Commission of said City.

The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on February 03, 2004.  The proposed subdivision lies within a Zone “X” as per FEMA’s FIRM.
The proposed subdivision plat  will dedicate five (5) feet on existing County Road of additional Road Right of Way in accordance with the Hidalgo County Thoroughfare Plan.
Sanitary Sewer Services will be provided by the City of Edinburg.

Water Services will be provided by the City of Edinburg.  There is an existing eight (8) inch waterline on Ciguena Road that will serve as the primary source of water for the proposed development.  
The Subdivision received Preliminary Approval from the Hidalgo County Commissioner’s Court on July 18, 2006.  The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  

The Hidalgo County Advisory Board convened and recommended Final Approval on June 22, 2007.
