	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Juan D. Salinas III

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
June 25, 2007

RE:
Ranchitos Las Palmas Subdivision – Pct. 4

Final Approval with Financial Guarantee 
Ranchitos Las Palmas is an eighteen (18) lot subdivision located on the Northwest corner of the intersection with Rogers Road (Mile 18 North Rd.) and Sharp Road.

The proposed Subdivision lies within the Rural Area of the County.

The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on April 02, 2007.  The proposed subdivision lies within Zone “X” as per FEMA’s FIRM.

The proposed subdivision plat will dedicate ten (10) feet on Rogers Road and ten (10) feet on Sharp Road of additional Road Right of Way in accordance with the Hidalgo County Thoroughfare Plan. 

Sanitary Services will be provided by OSSF.  Soil Analysis were conducted by Jose Angel Gonzalez and approved by the Hidalgo County Environmental Health Department.  

Water Services will be provided by North Alamo Water Supply Corporation.  There is an existing six (6) inch waterline on Rogers Road and a four (4) inch waterline on Sharp Road that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  
The Subdivision received Preliminary Approval from the Hidalgo County Commissioner’s Court on May 22, 2007.  The Subdivider is requesting Final Approval with Financial Guarantee.  A Letter of Credit from Inter National Bank in the amount of $18,000.00 was submitted to the Planning Department and addressed to the County Judge and County Commissioner’s Court.  The Letter of Credit will be used to secure the funds for the installation of eighteen (18) septic tank systems.

The Hidalgo County Advisory Board convened and recommended Final Approval with Financial Guarantee on June 22, 2007.
1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


