	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Juan D. Salinas III

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
July 18, 2007

RE:
Inca Trail Subdivision – Pct. 2

Preliminary Approval 
Inca Trail Subdivision is a twenty (20) lot subdivision located on the West side of Alamo Road and 315.12 feet South of Minnesota Road. 
The proposed Subdivision lies within the City of Alamo E.T.J.
The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on May 7, 2007.  The proposed subdivision lies within Zone “C” as per FEMA’s FIRM.

The proposed subdivision plat will dedicate ten (10) feet on Alamo Road of additional Road Right of Way in accordance with the Hidalgo County Thoroughfare Plan. 

Sanitary Services will be provided by OSSF.
Water Services will be provided by North Alamo Water Supply Corporation.  There is an existing six (6) waterline on Alamo Road that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  Staff comments are attached for your review.

The Hidalgo County Advisory Board convened and recommended Preliminary Approval on July 17, 2007 subject to staff comments, future recommendations by Planning and other departments and the approval from the City of Alamo.
[image: image2.png]LOG OF ITEMS LACKING
DURING SUBDIVISION REVIEW

Name of Subdivision: INCA TRAIL SUBDIVISION 2™° REVIEW Page 10 of10

This form lists the documents lacking during the process of seeking subdivision approval. The County official
receiving a document should upon its receipt fill out and initial an entry for the items lacking and then write the
log number on the document. If needed use more than one line for the description

Item Logger’s
Log | Description of Item Date Initials
#
A 2"° SHEET COMMENTS: 06-29-07 CP
Correct typical lot detail of service lines because it does not coinside with
drawing.

B Water Engineering Report «“ “
Provide amount per fire hydrant and deadline for water meter installation

C Sewer Engineering Report “
State the date when the OSSF were installed and inspected.
Fill in all total costs prior to final approval.

D | Please make sure all corrections are incorporated into the Spanish version. «“ “

F Plat is subject to additional comments from Planning, Right of Way, “ «
Health, and HCDD No. 1 prior to consideration for final approval





1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


