	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Juan D. Salinas III

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
July 18, 2007

RE:
Lantana Acres No. 6 Subdivision – Pct. 4

Preliminary Approval 
Lantana Acres No. 6 Subdivision is a sixty six (66) lot subdivision located on the North side of Mile 22 ½ North Road and 770 feet West of Jesus Flores Road.

The proposed Subdivision lies within the Rural Area of the County.

The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on June 12, 2007.  The proposed subdivision lies within Zone “X” as per FEMA’s FIRM.

The proposed subdivision plat will dedicate twenty (20) feet on Mile 22 ½ Road of additional Road Right of Way in accordance with the Hidalgo County Thoroughfare Plan. 

Sanitary Services will be provided by OSSF.  Soil Analysis were conducted by Jose A. Gonzalez and approved by the Hidalgo County Environmental Health Department.
Water Services will be provided by North Alamo Water Supply Corporation.  There is an existing eight (8) inch waterline on Mile 22 ½ Road that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  Staff comments are attached for your review.

The Hidalgo County Advisory Board convened and recommended Preliminary Approval on July 17, 2007 subject to staff comments and future recommendations by Planning and other departments.
[image: image2.png]Name of Subdivision:

LOG OF ITEMS LACKING
DURING SUBDIVISION REVIEW

Lantana Acres N0.6 1%'Review

Page

lofl

This form lists the documents lacking during the process of seeking subdivision approval. The County official
receiving a document should upon its receipt fill out and initial an entry for the items lacking and then write the
log number on the document. If needed use more than one line for the description.

Item Logger’s
Log | Description of Item Date Initials
#
A 1°" SHEET COMMENTS: 06-29-07 CP
PLAT NOTES:
#8.) Describe where BM#1 is located and provide BM#2 with in subdivision
(conc. Slab w/disk) and datum.
#9,10, &15 Please complete notes (see attachments for additional plat notes)
B | MEETS AND BOUNDS «“ «“
Beginning: Label point of beginning on drawing, correct labeling of the S.E.
corner on drawing to comply with meets and bounds description.
On 2™ Callout: provide distance for the north ROW of Mile 22 % Rd.
C | On location of subdivision description change the City of Edinburg “ «“
: population to 62,735, as per 2005 census.
D . 2" SHEET COMMENTS: “ “
Show north arrow and scale for drawing layout
E | Show contour elevations on drawing “ «
F | A minimum of 15.0 ft. utility easement is required by Hidalgo County « «
G | Label the existing ROW for Mile 22 ' north road “ «
H | Please label if gas line is existing, if so provide existing easement document «“ “
number and dimension total width.
I | Provide street names for subdivision and verify names at 911 departments «“ «“
with Juan Gomez to avoid duplicate street names.
] 3*" SHEET COMMENTS: “ “
Show OSSF designated area on drawing
K | Provide dates and total cost estimates on water and sewer engineering reports “ «
prior to final approval.
L | All modifications must be reflected on the Spanish version. “ “
M 4" SHEET COMMENTS: “ “
Provide discharge permit, and exact approved drainage report.
N | Show natural ground flow arrows, spot topography and extend elevations “ «
500.0° after property line.
O | Correct drain ditch cross section by showing proposed inlet connecting on the “ «“

southside.

Plat is subject to additional comments from Planning, Right of Way,
Health, and HCDD No. 1 prior to consideration for final approval.





1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


