	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Juan D. Salinas III

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
July 18, 2007

RE:
Palacios Estates Subdivision – Pct. 4

Preliminary Approval 
Palacios Estates Subdivision is a two (2) lot subdivision located on the West side of North Ware Road approximately 1037.96 feet North of SH 107. 
The proposed Subdivision lies within the City of McAllen E.T.J.
The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on June 26, 2006.  The proposed subdivision lies within Zone “X” as per FEMA’s FIRM.

The proposed subdivision plat will dedicate twenty (20) feet on North Ware Road of additional Road Right of Way in accordance with the Hidalgo County Thoroughfare Plan. 

Sanitary Services will be provided by OSSF.  
Water Services will be provided by Sharyland Water Supply Corporation.  There is an existing six (6) inch waterline on North Ware Road that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  Staff comments are attached for your review.

The Hidalgo County Advisory Board convened and recommended Preliminary Approval on July 17, 2007 subject to staff comments, future recommendations by Planning and other departments and the approval from the City of McAllen.
[image: image2.png]LOG OF ITEMS LACKING
DURING SUBDIVISION REVIEW

Name of Subdivision: Palacios Estates anReview Page 1of1l

This form lists the documents lacking during the process of seeking subdivision approval. The County official
receiving a document should upon its receipt fill out and initial an entry for the items lacking and then write the
log number on the document. If needed use more than one line for the description.

Item Logger’s
Log | Description of Item Date Initials
#
A 1°" SHEET COMMENTS: 06-29-07 | JRT

Verify each lot net acres and division lot line for lots 1 and 2.

B | PLAT NOTES: “ “
SEE ATTACHEMNT FOR ADDITIONAL
PLAT NOTES AND CORRECT WORDING.

C 2" SHEET COMMENTS: “ “
Provide cross section detail.

D | Why is there 2 water meters services for lot 2? Does one of them currently in « «“
use? Please verify this and explain on engineer report.

E | Is there a water well on lot 1 as per water mill symbol? If so, please mention it « “
in the engineer report and label on drawing.

F | ENGINEER WATER REPORT: «“ «

1. Correct subdivision name to coincide with first sheet*“Palacios Estates”
2. Mention what lot has an existing water meter.
3. For what lot is the dual service being provided if one water meter is
currently exists? Please explain in 31 paragraph.
4. Total amount or facilities fully constructed
5. Amount stated on 30 year letter from SWSC.
6. Water meter installation dead lines.
->See attachment for Engineer Report Sample.

G | ENGINEER SEWAGE REPORT: “ “
1. Minimum amount for an OSSF when provide a letter of credit is 1,000

H | All modification on water and sewage engineer report need to reflect on “ «
Spanish version.

Plat is subject to additional comments from Planning, Right of Way,
Health, and HCDD No. 1 prior to consideration for final approval.





1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


