	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Juan D. Salinas III

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
July 18, 2007

RE:
Promesa Heights Subdivision – Pct. 4

Preliminary Approval 
Promesa Heights Subdivision is a thirteen (13) lot subdivision located Northwest of Valverde Road and Roosevelt Road intersection. 
The proposed Subdivision lies within the City of Donna E.T.J.
The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on May 29, 2007.  The proposed subdivision lies within Zone “C” as per FEMA’s FIRM.

The proposed subdivision plat will dedicate twenty (20) feet on Valverde Road and thirty (30) feet on Roosevelt Road. of additional Road Right of Way in accordance with the Hidalgo County Thoroughfare Plan. 

Sanitary Services will be provided by OSSF.  Soil Analysis were conducted by Jose A. Gonzalez and approved by the Hidalgo County Environmental Health Department.
Water Services will be provided by North Alamo Water Supply Corporation.  There is an existing twelve (12) inch waterline on Valverde Road and an eight (8) inch waterline on Roosevelt Road. that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  Staff comments are attached for your review.

The Hidalgo County Advisory Board convened and recommended Preliminary Approval on July 17, 2007 subject to staff comments, future recommendations by Planning and other departments and the approval from the City of Donna.
[image: image2.png]LOG OF ITEMS LACKING
DURING SUBDIVISION REVIEW

Name of Subdivision: Promesa Heights Subdivision 1*Review ~ Page  1of2

This form lists the documents lacking during the process of seeking subdivision approval. The County official
receiving a document should upon its receipt fill out and initial an entry for the items lacking and then write the
log number on the document. If needed use more than one line for the description

Item Logger’s
Log | Description of Item Date Initials
#
A 1°" SHEET COMMENTS: 06-19-07 CP
Show contour lines on drawing
B | Is the drain ditch ROW running along the north side of this subdivision “ “
being dedicated to HCDD#1 by this plat? or is it an existing drain ditch
ROW.

C | Please label if donna irrigation district canal ROW is existing. If so, also «“ “
provide document number.

D | Label existing irrigation & drain ditch easement on the east adjoner Alve « «“
Subd. And show dimension for easement width.

E Label solid line on the west side of Valverde Rd. « “

F | Please verify dimensions for lot 7 because the southwest corner does not
clip. (Please see attachment)

G | Property dimensions 660 x 1337.15 =20.25 acres, and do not coincide “ “
with property legal description please provide warrantee deed.

H | PLAT NOTES “ «“
#5.) Front Setbacks ......... 50.0°

#6.) complete BM elevation and label BM#1 on drawing

#7) fill in note calculations on ( cubic feet) and ( acre feet)
#18.) change lots1-6 to lots 1-13 should have two common driveway
access.

I | Meets and Bounds
Label point of beginning on drawing as describe on meets and bounds

J | Index to sheet: « «
SH2 —add missing description(see redlines)

K | On Principal Contacts please provide the subdivision owner’s phone “ “
number.

L 2" SHEET COMMENTS: « «
Water engineer report:

e Describe if fire hydrants are going to be installed?
e Complete report prior to final approval

M | Sewer engineer report: «“ «
Provide date of inspection by the Hidalgo County Health Department

N | Submit engineer construction cost estimate for the entire subdivision “ «“
development and verify amount on cost estimate chart on 2" sheet.

O | Title sheet 2 should be “Map of Water and OSSF Distribution System « “

P | Correct subdivider statement (see attachments) « “





[image: image3.png]LOG OF ITEMS LACKING
DURING SUBDIVISION REVIEW

Name of Subdivision: Promesa Heights Subdivision 1*Review ~ Page  20f2
Q 3" SHEET COMMENTS:

Provide spot topography elevation with extended contours at approximate
500.0 ft. after property line.

R | Show natural water flow arrows on drawing ' “ “

S Label flow line elevations on all swales « «

T | Show existing asphalt and dimension width for both Valverde & “ ¢
Roosevelt Rd

U | Please label for contractor to re grade road side ditch. “ “
V | Provide common driveway access for lots 7-13 “ “
W | Show the exact approved drainage report from HCDD#1 “ “
X | Summit NOI application to our office, prior to preliminary approval. “ “

Plat is subject to additional comments from Planning, Right of Way,
Health, and HCDD No. 1 prior to consideration for final approval.





1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


