	[image: image1.png]



Raul E. Sesin, P.E., CFM

PLANNING ADMINISTRATOR
	PLANNING DEPARTMENT

County Of Hidalgo


TO:
Judge Juan D. Salinas III

County Commissioner’s Court

FROM:
Raul E. Sesin, P.E., Planning Administrator

DATE:
July 18, 2007
RE:
Sekula Farms Subdivision – Pct. 4

Preliminary Approval 
Sekula Farms Subdivision is a one (1) lot subdivision located along the Southside of Cibolo Road and approximately 3,675 feet East from US Expressway 281.

The proposed Subdivision lies within the City of Edinburg E.T.J.

The Drainage Report was submitted to, reviewed, and approved by the H.C.D.D. No. 1 Manager on December 12, 2005.  The proposed subdivision lies within Zone “X” as per FEMA’s FIRM.

Sanitary Services will be provided by the City of Edinburg.

Water Services will be provided by the City of Edinburg.  There is an existing sixteen (16) inch waterline on El Cibolo Road that will serve as the primary source of water for the proposed development.

The Subdivision Plat has been reviewed and complies with the Hidalgo County Subdivision Rules, Texas Water Development Board Model Subdivision Rules and the Texas Local Government Code.  Staff comments are attached for your review.

The Hidalgo County Advisory Board convened and recommended Preliminary Approval on July 17, 2007 subject to staff comments, future recommendations by Planning and other departments and the approval from the City of Edinburg.
[image: image2.png]LOG OF ITEMS LACKING
DURING SUBDIVISION REVIEW

Name of Subdivision: rd, . Page 1 ofl
Sekula Farms 3 "Review

This form lists the documents lacking during the process of seeking subdivision approval. The County official
receiving a document should upon its receipt fill out and initial an entry for the items lacking and then write the
log number on the document. If needed use more than one line for the description.

Item Logger’s
Log | Description of Item Date Initials
#
A 1°" SHEET COMMENTS: 06-07-07 JRT
Please mention to what water provider the will 5 foot water easement be
dedicated by this plat.

B | Verity if gas company has any objection on water easement being “ «“
dedicated inside their existing easement and submit response letter to our
office.

C Show contours. « «

D PLAT NOTES: « «
2] Construction for residential housing paragraph does not apply to this
subdivision, please delete paragraph.
5,12, & 17] See attachment for new updated wording restriction.
9] Correct spelling “public”
See attachment for additional plat notes:

o TxDOT driveway permit plat note.

E METES & BOUNDS: e «
As per 3™ and 5™ callout please provide curve data information (radius,
delta, and bearing)

F | Correct Texas Water Code on HCDD#1certification [49.211 (c)] «“ «“

G | Correct city of Edinburg new population as per 2005 census (62,735) and « «“
local government code because subdivision property falls inside the citys 2
mile ETJ under 21.021.

H 2" SHEET COMMENTS: “ “
Show topography elevation, and contours with in subdivision property.
Also extend topo elevation 500 feet.

I | Provide flange elevation for proposed fire hydrant. “ “

J | Move north arrow and scale closer to both drawing layouts. “ “

K | Please submit letter of conditions from water and sewer provider to our “ “
office.

Plat is subject to additional comments from Planning, Right of Way,
Health, and HCDD No. 1 prior to consideration for final approval.





1304 S. 25th St. ( Edinburg, Texas 78539 ( (956) 318-2840 ( Fax. (956) 318-2844 www.hchd.org/planning


