[image: image1.jpg]SONIY 0P :
57 . Hidalgo County Health and e etendes D oA
fald £: Human Services Department Healt Authorty et Physician
-, :. 1304 S. 25th Street + Edinburg, Texas 78539 Eduardo Olivarez
Chief Administrative Officer

¢ 2
'~... A'S_“" Tel: (956) 383-6221 + Fax: (956) 383-8864




Hidalgo County Health & Human Services

Clinic Renovations Scope of Work

Pg. 9 of 9

Hidalgo County Health and Human Services Department

Clinic Renovation Projects

Clinic Sites:

Edinburg

Elsa

Hidalgo

McAllen

Mission

Pharr

Weslaco

All measurements are approximate (unless otherwise indicated) and it is the contractor’s responsibility to measure said area in order to obtain accurate measurements.  Drawings provided are for reference only and are not to scale.  All work being performed must meet ADA requirements.  All hardware being installed must be commercial grade.  Contractor is responsible for supplying all materials and labor as well as trash removal.

For further information or a walk through, please contact:

Rigoberto Hinojosa

Director of Operations

Hidalgo County Health & 

Human Services Department

1304 S. 25th Ave.

Edinburg, TX  78539

956-383-6221

fax 383-8864

rigoberto.hinojosa@hchd.org

Edinburg Clinic

3105 E. Schunior (Richardson)
Edinburg, TX  78539

1. The receptionist area (room 1) is currently 13’6” X 20’10”  The North wall is to be extended North approximately 6ft to make the final room dimensions approximately 19’6” X 20’10”.  

2. Remove built in cabinets and counters found on West and North wall.

3. Remove North wall completely, salvage door for reuse in the reconstruction of the North wall.

4. Remove existing ceiling tile and salvage any insulation to be reused when reinstalling ceiling.

5. Remove floor tile in the existing area and the new addition.

6. Remove three plate glass windows from the West wall leaving the window found furthest South in place.

7. Install new North and West walls using 5/8” drywall.

8. Apply ¼” drywall to the South wall in the reception area.

9. Load bearing columns found on the West wall should be concealed into the new West wall so as to provide a smooth surface on both sides.

10. Install salvaged door in the same location as in the demolished wall.

11. Install one new receptionist window with talk and pass thru openings approximately 2 feet West of door.

12. New receptionist window must have a small exterior counter as a writing surface.

13. Install ceiling grid in new addition to match existing grid..

14. Lower 2 lay in 2 X 4 fluorescent light fixtures into new addition.

15. Extend air conditioning ducts from existing North wall to new North wall.

16. Relocate all electrical receptacles, light switches, voice and data lines to new wall.

17. West wall must have a smooth finish without a visible window frame on the window that was to remain.

18. Tape, float and texture interior and exterior walls of remodeled area.

19. Paint all interior and exterior walls of remodeled area per attached specifications.

20. Paint door per attached specifications

21. Install new ceiling tile and salvaged insulation in remodeled area (19’6” X 20’).

22. Install new VCT flooring in the existing and new addition (19’6” X 20’) per attached specifications.

23. Install new cove base per attached specifications.

24. Demolish existing floor tile in the entire Health and Human Services area and the WIC Hallway.  Install new VCT flooring per attached specifications.

25. Install new cove base in all areas receiving new VCT flooring per attached specifications.

26. Demolish existing bathroom in room 12 and wall that separates rooms 9, 10 and 12.  Install a new West wall in room 12 to make a medicine storage room  approximately 3’ X 5”.

27. Room 10 is to become and alcove for vaccine refrigerators .

28. Demolish existing partitions in room 16 (dressing room).  Install approximately 10 linear feet of cabinets on the East side of the room.  Install one voice and two data Category 5e or better cabling drops.  Location of cable drops to be designated at time of installation.

29. Replace all non-ADA compliant door handles with compliant lever handles.

30. Room 15 and 17

Install hanging curtain partitions in southeast corner of room 15 and northeast corner of room 17 for client changing.

31. Apply one way window tinting to the exterior windows on the East side of the building (Room 1 and 3).

32. Repaint all interior walls to Sherwin Williams antique white (see attachments for actual color formula).

33. Replace all cove base with Vacuum Black cove base (see attached for vendor and model)

34. Paint all door frames Sherwin Williams Vacuum Black (see attachments for actual color formula).

35. Paint all wooden doors Sherwin Williams Henna Cherry and all metal doors Sherwin Williams Orangewood (see attachments for actual color formula).

*** Important***

Interior dimensions of the finished room 1 must measure no less that 19’ X 20’.  This is required for proper placement of new modular furniture that is to be installed after renovation is completed.

Elsa Clinic

708 Edinburg Street

Elsa, TX  78543

1. Apply one way window tinting to the exterior windows on the East side of the Building (Room 1 and 3).

2. Repaint all interior walls to Sherwin Williams antique white (see attachments for actual color formula).

3. Replace all cove base with Vacuum Black cove base (see attached for vendor and model)

4. Paint all door frames Sherwin Williams Vacuum Black (see attachments for actual color formula).

5. Paint all wooden doors Sherwin Williams Henna Cherry and all metal doors Sherwin Williams Orangewood (see attachments for actual color formula).

6. Increase lighting in the waiting area.  Current lighting is dim.

7. Room 4

Install a 10-lbs ABC class (CO2) fire extinguisher in the room.

8. Room 7

Reduce the length of the cabinets on the West side of Room 7 by 4 feet from the south end of the cabinets. (Repaint Cabinets or replace front face ?????)

9. Room 9

Demolish existing partitions.  Install new fire rated solid core door to face the hallway with ADA compliant door handle.  Cut out and install two new fire rated solid core doors with ADA compliant door handles to lead from room 9 into room 8 and into room 10.  Install approximately 10 linear feet of cabinets on the West side of the room.  Install one voice and two data Category 5e or better cabling drops.  Location of cable drops to be designated at time of installation.

10. Room 8 and 10

Install hanging curtain partitions in northwest corner of room 8 and southwest corner of room10 for client changing.

McAllen Clinic

300 E. Hackberry
McAllen, TX  78501

1. Remove North door from Room 8 and salvage if possible.

2. Cut a new doorway on West wall of room 9 and install salvaged door from room 8.

3. Replace all non-ADA compliant door handles with compliant lever handles.

4. Replace existing lighting in room 11 with a 2 X 4 lay in.

5. Install cabinet doors on cabinets found in room 12.

Mission Clinic

211 S. Schuerbach

Mission, TX  78572

1. Demolish the two existing block walls at entrance to the clinic.

2. Demolish existing front rolling gate

3. Install hung rolling front gate

4. Demolish existing rolling gate from employee parking area

5. Remove grass, dirt and patio stones from atrium area.  Salvage patio stones for later reuse.

6. Fill atrium area with concrete to all edges of existing curb and slope to drain.  Install patio stones into the concrete at existing location.

7. Provide and install two heavy-duty clay pots with Ivy’s in atrium area.

8. Provide and install a sign of clinic name and address on east side of building with letters no smaller than 10 inches.

9. Demolish existing partitions in room 11.   Install new fire rated solid core door to face the hallway with ADA compliant door handle.  Cut out and install two new fire rated solid core doors with ADA compliant door handles to lead from room 11 into room 10 and into room 12.  Install approximately 10 linear feet of cabinets on the East side of the room.  Install one voice and two data Category 5e or better cabling drops.  Location of cable drops to be designated at time of installation.

10. Room 10 and 12

Install hanging curtain partitions in northwest corner of room 8 and southwest corner of room10 for client changing.

11. Close common waiting area between Health and Human Services and WIC area with double doors.  Doors should be lockable from the Health and Human Services side to prevent unauthorized entry from WIC Side.

12. Install a sliding door that will recess into a new permanent wall in room 7 that will divide the room North and South and creates two rooms from the existing one.

13. Paint all interior walls throughout Health and Human Services side of building and WIC waiting area with the existing color scheme

Hidalgo Clinic

702 E. Tejano

Hidalgo, TX  78557

1. Paint all interior walls throughout Health and Human Services side of building per attached specifications.

2. Strip and wax floors

Pharr Clinic

1903 N. Fir

Pharr, TX  78577

1. Apply ¼ inch dry wall to all interior walls of Health and Human Services side of building.  Float and texture walls.

2. Demolish cabinets and sink in the break room and replace with new cabinetry and sink.

3. Remove lockers from the break room.

4. Demolish three dressing rooms and convert space into supplies storage area.

5. Demolish existing vct floor tile throughout Health and Human Services side of building and replace per attached specifications.

6. Install new cove base per attached specifications.

7. Paint all interior walls throughout Health and Human Services side of building per attached specifications.

Weslaco Clinic

1901 N. Bridge

Weslaco, TX  78596

1. Demolish North block wall from room 8 and angled block wall inside of room 8.  Salvage door for reuse.

2. Demolish block wall that separates room 8 and room 9

3. Demolish lavatory in room 9 and cap all supply and drain lines.

4. Install a new drywall wall in room 8 to make room 8 and 9 of equal size.

5. Cut two new doorways into North wall of room 7 to make a new entrance into room 6 and room 8.

6. Install a window with passthru into north wall of room 6 with an ADA compliant writing surface on North side of wall.

7. Replace all non-ADA compliant door handles with compliant lever handles.

8. Paint walls in remodeled area per attached specifications.

9. Install cove base in remodeled area per attached specifications.

10. Install needed VCT tile in remodeled area per attached specifications.

Customer Specifications:

Floor Tile:  12” X 12” commercial grade VCT.  Mfg. – Tarkett,    Model#  V-874-3

Floor cove base:  4”  Mfg.- Johnsite , Model# RWDC-63, Color: Burnt Umber

Ceiling Tile:   White 2’X 4’ White, fire proof

Door Jambs:   Vacuum Black industrial enamel (Sherwin-Williams)

Wall Paint:
Antique White S/G manual Formula



Sherwin-Williams formula



BAC Colorart 02-32-4-128



Y3 – Deep Gold 45



N1 – Raw Umber 10

Door Color:  
BAC – manual formula (Sherwin Williams)

Gallon B54T104 IN EN ULTRDP BSE  



W1
White

-
4
-
-



N1
Raw Umber
-
20
-
-



R2
Maroon
-
20
-
-



R3
Magenta
2
4
-
-



Y3
Deep Gold
4
-
-
-

[image: image1.jpg]