EXHIBIT “A”

HIDALGO COUNTY

“NEW & USED GUARD RAIL BEAM MATERIALS & INSTALLATION”

BID NO.: 2008-014-02-13-LRM

S P E C I F I C A T I O N S
1. The county of Hidalgo reserves the right to partially award the contract in order to meet the budget.

2. It shall be the Contractor’s responsibility to locate underground utilities, whether shown or not shown on the drawings, sufficiently in advance of operations to preclude damage to same.

3. Water, sewer, or other utility services shall not be interrupted.  Any damages to existing utilities will be Contractor’s responsibility.

4. In the even of damage to underground facilities, whether shown or not shown in the drawings, the Contractor shall make the necessary repairs to place the facilities back in service and not increase in the Contractor’s price and all such repairs conform to the requirements of the company or agency servicing the facility.

5. The Contractor shall exercise extra care to prevent damage to all other structures in the area including buildings, fence, roads, pipelines, utilities, etc., whether publicity or privately owned.

6. Until Acceptance by Hidalgo County of any part or all of the Construction, as provided for in the plans and these specifications, it shall be under charge and care of the contractor, and he shall take every necessary precaution against injury or damage to any part of the work.  The Contractor shall rebuild, repair, restore or make good, at his own expense, all injuries or damage to any portion of the work before its completion and acceptance.

7. In case the Contractor deems extra compensation is due him for proposed work not covered in the contract, the Contractor shall notify Hidalgo County in writing of his claim for such extra compensation before the begins the work.  Failure on the part of the Contractor to give such notification shall constitute a waiver of claim for such extra compensation.  The Contractor shall not proceed until a written Change Order is approved by Hidalgo County and Contractor.

8. Prospective bidders shall make a careful examination of the project sites.

9. Contractors shall review his overall method and schedule of construction with the County prior to construction for proper coordination of inspection.

10. The Contractor shall at all times provide access to existing homes.

11. No open trenches or excavation shall be left open overnight.

12. The contractor will provide all labor and materials for the subgrade preparation and for preparation of the caliche base.  The Precincts will be responsible for placement of Prime Coat and Hot Mix Asphaltic Concrete or the prepared caliche base.  The Contractor shall coordinate this work with the designated precinct’s foreman.
