5 of 9
Section 3

EXHIBIT “A”
HIDALGO COUNTY BID SPECIFICATIONS
“CABLING INSTALLATION SERVICES, TIME & MATERIALS”
I. DESCRIPTION  
Building structured wiring systems shall meet Hidalgo County Tele-Data Cabling Conventions to include adherence to the most currently available Building Industry Consulting Service International (BICSI) Telecommunications Distribution Methods Manual (TDMM 10th Edition), ANSI/TIA/EIA Telecommunications Building Wiring Standards, and National Electrical Code NFPA 70 & 72 manuals. Bidders shall be fully acquainted with the above referenced standards and be fully qualified, as outlined in the Hidalgo County Tele-Data communications contractor qualifications, to bid on and perform work. Bidders shall have demonstrated qualifications to install and test Fast Ethernet and Gigabit Ethernet Copper & Fiber cabling. Additionally, the successful bidder will be required to meet Hidalgo County Tele-Data conventions and standards. The successful bidder will be required to meet with and coordinate with a representative of the IT Networking and Telecommunications Department prior to work beginning, and weekly, during the installation process. Weekly meetings will include a site inspection to ensure compliance with the before mentioned standards. The successful electrical and Tele-data communications contractor will follow appropriate installation guidelines, as contained in the most currently available BICSI TDMM, ANSI/TIA/EIA, and NFPA 70 & 72 manuals. Additionally, contractor will work with IT Networking and Telecommunications to ensure proper placement and routing of cable and support hardware.

TELE-DATA COMMUNICATIONS CONTRACTOR QUALIFICATIONS
a. Hidalgo County requires only qualified, experienced Tele-data communications contractors perform design, project management and installation services in the construction or remodel of County telecommunications infrastructure. Pursuant to this, Hidalgo County wants to ensure that successful contractors have the capabilities, qualifications, financial stability, and experience to complete Tele-data communications installations using common industry practices (i.e. BICSI TDMM, ANSI/TIA/EIA, NFPA, etc) while meeting all Hidalgo County guidelines.

b. A consultant or contractor, by responding to a bid, represents that their company possesses the qualifications, certifications, capabilities, test equipment, expertise, and personnel necessary to provide an efficient and successful installation of properly operating equipment as specified. 

II.  SPECIFICATIONS:
Copper

Cost Per Installed Run*
 of up to 90 meters (Including service loops)
	Non-Plenum
	CAT3

(4 pair)
	CAT5e
	CAT6
	25 Pair Key Cable
	% Discount for multi-runs to same drop

	Regular New Construction (Rough/Pre-Punch)
	 
	
	 
	 
	

	Regular (Post-Punch)
	
	
	
	
	

	Expedited
	
	
	
	
	

	Emergency
	
	
	
	
	

	Plenum
	
	
	
	
	

	Regular New Construction (Rough/Pre-Punch)
	 
	
	 
	 
	

	Regular (Post-Punch)
	
	
	
	
	

	Expedited
	
	
	
	
	

	Emergency
	
	
	
	
	


Misc., extra Material (Per unit)
	
	CAT3
	CAT5E
	CAT6
	25 Pair 

Key Cable
	N/A

	3' patch cable
	 
	 
	
	
	(

	5' patch cable
	 
	 
	
	
	 

	7' patch cable
	 
	 
	
	
	 

	10' patch cable
	 
	 
	
	
	 

	Custom (by foot)
	 
	 
	
	
	 

	66 Block (Cat5e)
	 
	 
	
	
	 

	66 Block (Cat5e) w/Con
	 
	 
	
	
	 

	5’ Key w/Amphenol Cn

	
	
	
	
	

	10’ Key w/Amph.
	
	
	
	
	

	25’ Key w/Amph
	
	
	
	
	

	24 pt patch Panel*

	 
	 
	
	
	 

	Other
	
	
	
	
	


Copper continued:

Exterior Work per foot

	
	2” Conduit
	4” Conduit
	Trenching
	Other 1

__________
	Other 2

__________

	Regular
	 
	
	
	
	 

	Expedited
	 
	
	
	
	 

	Emergency
	 
	
	
	
	 


Fiber

	
	12 Strand
	24 Strand
	Termination (Per Pair)
	Innerduct

	Regular

New Construction

(Rough/Pre-Punch)
	
	
	
	

	Regular

(Post-Punch)
	
	
	
	 

	Expedited
	 
	
	
	 

	Emergency
	 
	
	
	 


Exterior Work
	
	2” conduit
	4” Conduit
	Trenching
	Other ________

	Regular
	 
	
	
	

	Expedited
	 
	
	
	

	Emergency
	 
	
	
	


Fiber Patch Cables

	
	ST - ST
	ST – SC
	ST - LC
	SC - LC
	Other______

	.3m Patch
	 
	 
	
	
	 

	1m Patch
	 
	 
	
	
	 

	3m Patch
	 
	 
	
	
	 


Fiber Patch Panels (ST) and Brackets
	
	6-Pak
	12-Pak
	Other________

	Enclosed
	 
	 
	 

	Open
	 
	 
	 

	Other
	 
	 
	 


Audio, Video & Alarm

	Specify Type
	Installed
	Cable Only
	With Connectors

	RG-6au
	
	
	

	XLR
	
	
	

	Coaxial
	
	
	

	Digital Coaxial
	
	
	

	Speaker
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	


Wall Mounted Rack

All racks shall be at least 18” deep

And be capable of holding a rack-mounted UPS
	
	24”
	36”
	48”

	Open Wall Mount Rack
	 
	 
	 

	Installation
	
	
	

	Enclosed/Locking Wall Mount Rack

	 
	 
	 

	Installation
	
	
	


Floor Mounted Rack

	
	6’
	7’
	Other

	Floor Mount Open Rack-Aluminum
	
	 
	 

	Installation
	
	
	

	(Black) Open cabinet w/casters
	
	
	

	Installation
	
	
	

	(Black) Open cabinet w/casters
	
	
	

	Installation
	
	
	

	(Black) cabinet w/Side Panels only
	
	
	

	Installation
	
	
	

	(Black) cabinet w/Side Panels & Front and Back Locking doors
	
	
	

	Installation
	
	
	


UPS
	
	Tower
	Rack Mount
	Other

	500
	
	 
	 

	750
	
	
	

	1000
	
	
	

	1200
	
	
	

	1500
	
	
	

	1750
	
	
	

	2000
	
	
	


WARRANTY PROVIDED BY CONTRACTOR (1 YEAR MINIMUM)___________

Describe the process to be used to electronically accept, process and report job requests and progress to Hidalgo County___________________________________________

_____________________________________________________________________

_____________________________________________________________________

_____________________________________________________________________

List test equipment to comply with testing requirements

	Copper
	
	 
	 

	Fiber
	
	
	

	
	
	
	


III. SPECIFICATIONS:

1. Except as indicated by Hidalgo County IT Telecom Services, Contractor shall provide materials and labor for cable installation work throughout Hidalgo County; to include new work as well as repairs to existing. Completed jobs shall conform to the Hidalgo County Voice and Data Wiring Specification Manual.
2. Contractor shall prepare a written job cost estimate for each job based upon a visit to the job site. Contractor must be available to visit job sites based on the following classifications of notification:
(a)
Routine – five (5) working days of notification
(b) Expedite – one (1) working day of notification

(c) Emergency – two (2) hours of notification

3. Contractor shall provide an electronic copy of the completed request for estimate form, (see Exhibit B, page XX of this bid), to the ITTS Department based on the following classifications of notification:

(a) Routine – within forty-eight (48) hours after visiting the site.

(b) Expedite – within twenty-four (24) hours after visiting the site.

(c) Emergency – verbal estimate to be provided at the time of site visit with written follow-up of verbal estimate within twenty-four (24) hours of visit.

4. Once Hidalgo County has accepted a cabling job estimate through the issuance of a valid purchase order, the dollar amount reflected on the purchase order shall constitute the County’s total obligation for that job. The Contractor shall endeavor to submit an accurate cost estimate. No claims for compensation will be considered or allowed for extra work resulting from ignorance of any existing conditions on the part of the bidder. However, the County recognizes that some elements of work cannot be detected until work is in progress. When latent physical conditions are discovered, the Contractor shall immediately notify the IT Telecom Manager, and before work continues, the Contractor shall submit a revised cost estimate for approval. A written change order to the existing purchase order or the issuance of an additional purchase order is the only valid approval mechanisms for additional work. 

5. Contractor shall inform the IT Department of the work in progress and advise them when a job is complete. For long-term projects (those exceeding five (5) working days), the Contractor shall meet with ITTS representative and provide a weekly, typewritten progress report. This report should be electronically submitted no later than 5:00 p.m. on each Friday until the work is completed. Weekly meetings will include a site inspection to ensure compliance with established standards.
6. Permits, Fees and Notices:
a. The Contractor shall secure and pay for the building permit and for all required permits, governmental fees, licenses, and inspections necessary for the proper execution and completion of the work. Contractor’s estimate should include cost of any permits, fees, or notices for each job.
b. The Contractor shall give all notices and comply with all laws, ordinances, rules, regulations, and lawful orders of any public authority bearing on the performance of the work.
c. If the Contractor performs any work when he knows or should know it to be contrary to such laws, ordinances, rules and regulations, and shall therefore bear all costs attributable thereto.

7. Selected Contractor shall be expected to meet established schedules and deadlines for the completion of work as outlined in job estimates.

8. Selected Contractor shall be expected to adhere to current Hidalgo County Voice and Data Wiring Specification Manual. It is the responsibility of the Contractor to request any new revisions to the wiring specifications at the time an estimate is provided.

9. Bidder should have a current BICSI certified Registered Communication Distribution Designer (RCDD) on staff as a full-time employee. A copy of the RCDD certificate and BICSI member number must be provided with bidding documents
10. Bidder shall provide a representative list of three (3) or more references including contact name and telephone number. These references should represent the installation of copper and fiber optic cabling in interior, exterior, aerial, and underground environments. The bidder should indicate which types of work have been conducted for each reference. Hidalgo County may contact these references as one means of collecting information regarding past performance of the Bidder. THIS INFORMATION SHALL BE PROVIDED WITH BID.

11. Bidder shall provide a document detailing the staffing level of the Bidder’s firm by job classification (i.e. cable installer, installers helper and qualifications of staff). THIS INFORMATION SHALL BE PROVIDED WITH BID.

12. Bidder shall provide a list of equipment owned; fiber and copper, description and any additional information as needed. THIS INFORMATION SHALL BE PROVIDED WITH BID.

13. Bidder shall provide a list of certificates and cables covered by manufacturer training and certification. THIS INFORMATION SHALL BE PROVIDED WITH BID.

14. Bidder shall warranty its materials, design, and workmanship for a minimum of one (1) year from the date of work completion and shall include all parts, labor, and transportation as specified.

15. Warranty information on installed equipment and cabling shall be detailed in each job estimate. Bidder shall warranty its materials, design, and workmanship for a minimum of one (1) year from the date of work completion and shall include all parts, labor, and transportation.

16. Warranty shall commence on each job on the date it is accepted as complete by Hidalgo County.

17. The Contractor shall respond with remedy to a warranty trouble call within twenty-four (24) hours after receipt of such a call.

18. If it becomes necessary for the County to contact another vendor for warranty repairs due to inability or failure of the Contractor to perform such repairs, the Contractor shall reimburse the County for all invoices for labor, materials required and the shipping/handling costs thereof, to perform such repairs, within thirty (30) calendar days from presentation of such invoice. This shall only occur after the Contractor has been given reasonable time and fair opportunity to respond and correct the problem. The cost limitation for such repairs will not exceed the parts and labor replacement price of the repair.

19. All cable/equipment installed must be fully tested and meet TIA/EIA testing and installation standards for UTP/STP copper, coaxial, and SM/MM fiber optic cable. This includes certification for Cat5, Cat3, Cat6 installation, Fast Ethernet, (100MB), Gigabit Ethernet (1000 MB), FDDI, etc. All test results shall be submitted electronically to designated Hidalgo County ITTS representative within five (5) days of test completion. Invoices will NOT be paid unless corresponding test results are received.
IV.  Terms & Conditions:

1. SCOPE of CONTRACT: This is a firm fixed-price, estimated quantity contract calling for delivery of the products identified in Description at the stated prices submitted by the bidder.  Upon acceptance of a bid by Hidalgo County Commissioners and issuance of a Contract Award by the Hidalgo County Purchasing Agent, Bidder shall be obligated to deliver the products at the stated prices, within the time specified, and in accordance with all Terms and Conditions and Description contained herein.  Delivery schedule listed by bidders on the face of this RFB shall apply to the individual Purchase Order. Hidalgo County will seek purchases from State-awarded contracted vendors, cooperative purchasing programs, or any other vendor whenever it is statutorily permitted and in its best interest to do so.  Hidalgo County is not obligated to order products not covered by this contract and is free to secure those requirements from other sources in accordance with applicable purchasing statues. Hidalgo County will seek purchases from State-awarded contracted vendors, cooperative purchasing programs, or any other vendor whenever it is statutorily permitted and in its best interest to do so.
2. TERM CONTRACT: The initial term of this contract shall commence upon award for twelve (12) months with Hidalgo County Commissioners Court sole discretion to extend for one (1) additional year, subject to approval by the Commissioners Court under the same firm fixed prices, terms and conditions.
3. OPTION TO EXTEND: Hidalgo County shall have the unilateral right to extend this Contract for one (1) additional year and two (2) additional one (1) month periods (individually, an “Option to Extend” and collectively, the “Options to Extend”), and all provisions of this Contract, except for term and price, shall remain unchanged and in full force and effect.  County shall exercise an Option to Extend no sooner than ninety (90) calendar days prior to expiration of the then current term.  The total term of this Contract, included the Options to Extend, shall not exceed twenty-six (26) months.  County shall have the right to exercise all or portion of the Options to Extend in any combination it deems necessary.

4. PRICE CHANGES: The prices offered shall remain firm for the period of the contract.  The prices offered shall also remain firm for the option year should the County choose to exercise the option to renew, except for changes that are industry wide and beyond the control of the contractor.  If such changes do occur, it will be the responsibility of the contractor to provide documentation to Hidalgo County substantiating the changes to the bid process.  Any price changes must be approved by Hidalgo County.

1. METHOD OF AWARD: Award, if any, will be made to 

a. Primary Vendor the responsible bidder(s) submitting the lowest bid prices(s) and meeting all requirements of this Request for Bid. 

b. Secondary Vendor the responsible bidder(s) submitting the second lowest bid price(s) and meeting all requirements of this Request for Bid.

Hidalgo County reserves the right to award on an “all or none” or “by line item” basis.  Bidder may bid on any or all items in order to be considered responsive to this Request for Bid.
5. PURCHASE ORDER: Contractor will not supply and/or deliver any items until a purchase order number is assigned by the designated representative of the County Purchasing Office.  Contractor will reference purchase order and contract number on all invoices submitted to the Hidalgo County Auditor.  The Contractor must respond by supplying and/or delivering the parts.  Failure to act in this manner may result in termination of this contract.
6. MATERIAL COST:  Prices for each job shall include the cost of shipping and delivery of all items to the designated FOB point and shall not include Federal or State of Texas sales, excise and use taxes.  Bidder must include all costs in the delivered unit price.
7. REQUIRED DELIVERY:  Verbal Purchase Order’s placed by 3:00 p.m. shall be delivered to the department that same business day.  Order’s after 3:00 p.m. shall be next business day deliver.

8. DAMAGES:  Contractor will be totally responsible for any and all damages and/or losses to equipment and property which may occur during the performance of this contract.  Damages to equipment and property will be assessed by an agent of the Hidalgo County Elections Department.

V. ADDITIONAL INFORMATION:
1. All costs and expenses associated with preparation and submission of (bids, proposals and/or quotes) shall be the responsibility of the bidder and no reimbursements for such charges or expenses shall be passed onto Hidalgo County. 

2. Hidalgo County is requesting that any and all questions, inquiries and clarifications regarding quotes, bids, proposals or statements of qualifications be addressed to:  Martha L. Salazar, CPPB, Purchasing Agent, Hidalgo County Purchasing Department, 2812 S. Business Hwy. 281, New Administration Building, Edinburg, Texas 78539.  TELEPHONE INQUIRIES WILL NOT BE ACCEPTED.
3. ALL WRITTEN INQUIRIES WILL BE ACCEPTED VIA FACSIMILE NO LATER THAN, Wednesday, __________ by 5:00 P.M... Responses to said inquiries will be sent to all applicants via facsimile by no later than, Friday, ___________ by 5:00 p.m..
�For purposes of this contract a “Run” is defined as a single (horizontally or vertically) installed cable. A Drop can have up-to, but no more than 6 runs.


� One end of amphenol connector must be female; the other end to match connector on 66-block.


� Including Blank Bracket and Jack Inserts. Note: We are no longer using panels of greater density than 24.


� Specify by the Foot and/or Run





� Enclosed racks shall have low-noise, thermostat-controlled fans if installed in staff work areas; otherwise standard fans can be used.





