DATE: JULY 17, 2008
RE:
WALK THRU FOR PROPOSED RETROFIT OF MECHANIC SHOP



OFFICE SPACE:

Southside wall will be removed and new wall will be installed approximately where steel beam is at; proposed north office will be eliminated completely and used for storage.

RESTROOMS:

New restroom facilities will be installed at same location but to include a ladies bathroom and must be ADA compliant.

FLOORING:

Flooring will smoothen out filling in any areas that have be covered and finished with basic gray concrete paint.

EAST WALL:

All garage doors will be removed and will be enclosed with CMU block with cement finish mathching existing color; (1) one ADA compliant entrance door to be installed at office section on south side and (1) one ADA compliant entrance door to storage room area.

INTERIOR WALLS:

 Finished CMU block finished with white concrete paint.
WEST WALL:

Garage door will remain, garage door will be painted to include but not limited to weather-stripping in order to hold up with HVAC system.

Windows will remain and/or replaced 
ELECTRICAL:

Main panel will be relocated to East wall and basically use existing wiring and outlets to include but not limited to two strips of fluorescent lighting inside storage area. Any conduit not being used will be removed to include air hoses; not in use. (All outlets will remain at same and include 8 drop ceiling receptacles).
OUTSIDE AREA:

Existing canopies will be enclosed and add a 26 x 22 increasing by 572 sq. ft. for needed space to storage cages.  Size of cages  are 5’ length 2.7” Width  for a total of 13.5 sq. ft. area; there will be a total of 126 cages needing  a minimum of 1701 sq. ft. plus needed area to move around. This addition will allow approximately 2400 sq ft. Area will include fluorescent lighting every 6ft. apart.
HVAC:

One run with ducts at center of building will cover interior of building
ROOF:

Roof will be replaced with metal insulated roofing with new purling.

