From: Daniel Flores [daniel.flores@co.hidalgo.tx.us]
Sent: Friday, July 11, 2008 2:04 PM
To: Oscar Garza
Subject: FW: Project #2008-240 Request for Monitoring Services 

From: Daniel Flores [mailto:daniel.flores@co.hidalgo.tx.us] 
Sent: Friday, July 11, 2008 2:04 PM
To: 'Daniel Flores'
Subject: RE: Project #2008-240 Request for Monitoring Services 

Oscar, the monitoring was priced using the TXMAS-5-03FAC010, pricing is effected February 1, 2009 thru January 31, 2012.  Has a 25 percent off list price on all parts.

From: Daniel Flores [mailto:daniel.flores@co.hidalgo.tx.us] 
Sent: Thursday, July 10, 2008 4:21 PM
To: 'Oscar Garza'
Subject: RE: Project #2008-240 Request for Monitoring Services 

The agreement looks good. Total for the monitoring of Fire Alarms will come to $5989.00 a year, Burglar Alarm monitoring is $756.00 a year. 

1. Adult probation-$420.00 – Fire alarm (alarm system is new should not have any problems)

2. Elsa multi-center-$420.00 – Fire alarm (alarm system was tampered with needs to be reconnected and  will need to get SimplexGrinnell out there to fix all the  problems prior to monitoring)

3. Hidalgo County Courthouse-$420.00 –Fire alarm (system just got worked on should be ok, minor problems with some batteries) have maintenance staff looking at batteries to determine what needs to be ordered.

4. Hidalgo County Warehouse, San Carlos – Burglar alarm – Elections Dept. currently paying for alarm, still need the end of contract date:_________.

5. Juvenile Justice Center- $420.00 – Fire alarm – new facility.

6. Mansion-$378.00 – Burglar alarm – facility vacant at this time.

7. Mission Health/WIC-211 S. Schueback – Fire alarm

8. New Admin. Building-$420.00 – New facility

9. Old Admin. Building-$420.00 – Fire alarm – system ok, maintenance staff looking at batteries to determine what needs to be ordered.

10. Pct.1 multi-center-$420.00 – system should be ok, newer type facility.

11. Pct.2 multi-center-$420.00 – (South tower road)

12. Pct.3 multi-center-$1260.00 – new facility, system should be ok

13. CRC San Carlos-$420 – system should be ok newer type facility

14. San Juan multi-center-$420.00 –new facility

Note: 

Pharr Health/WIC will be covered by the WIC Department as per Department Head Norma.

Total for Burglar alarm-$756.00

Total for Fire alarm      -$5989.00

Total for all Services  - $6745.00

Recommend that we go with SimplexGrinnell for the above mentioned locations. Back up documents will be forwarded to you promptly.  

From: Oscar Garza [mailto:oscarg.garza@co.hidalgo.tx.us] 
Sent: Thursday, July 10, 2008 1:36 PM
To: Daniel Flores; Javier Carreon
Cc: Martha Salazar; 'Roy Quintanilha'; 'Darlene Betancourt'; 'Ramon Vela'
Subject: Project #2008-240 Request for Monitoring Services 

Please let this e-mail serve as a FORMAL REQUEST as to the status of the quote received by Simplex Grinnell on proposed project #2008-240 requesting “Monitoring Services for Fire and Security Alarms to County owned Buildings”.

 

Project is on hold pending your review, approval and formal notice to place on agenda.

Proposals were sent for review on June 30, 2008.

 

Please advice as to what direction you would like to take.

 

Thank you,

 

[image: image1]
Oscar Garza, Procurement Specialist        
2802 So Bus. Hwy 281
Postal Maining Address                
2812 So. Bus 281 & Corner of Canton Rd.
Edinburg, TX 78539
Phone: 956-318-2626 Ext. 4857
Fax: 956-292-7612
oscarg.garza@co.hidalgo.tx.us
 

