Below are estimated costs for;

1. Emergency Generator 
2. New Elevators 
Please schedule a workshop with County Judge and Commissioner Garza (Pct 4) so that we may go over the estimated costs and to define the emergency generator capacity as well as the elevators.  Both items are critical to the overall design process.

EMERGENCY GENERATOR:

I.          1st Floor................................................................................................................... $120K

II.          1st and 2nd Floors.................................................................................................... $185K

III.         1st, 2nd, and 3rd Floors............................................................................................. $260K

IV.        1st 2nd, 3rd, and 4th Floors......................................................................................... $335K

V.        1st through 5th Floors ………………………………………………………………………$410K

ELEVATORS:
ThyssenKrupp Elevator Corporation

Gregory S. Laznovsky, Service & Repair Sales Manager

I.          East Elevators:

            1.         Existing elevators are beyond repair and need to be replaced.

            2.         Estimated cost to replace -

                        A. East Elevators,

                                                a.         First and Second Floors - ............................................. $50K

                                                b.         Third Floor add -............................................................ $15K

                                                c.         Fourth and Fifth Floors add ($10K per level)..................$20K

                        B. Replacement of one elevator with new......................................................... $85K

                        C. Replacement of both East elevators with new............................................ $170K

            3.         Allow two weeks per elevator for removal and replacement of elevator.

            

II.          North Elevator (County Judge’s Offices):

            1.         Does not comply with current Texas Department of Licensing and Regulations as it applies to the Removal of Architectural Barriers.

            2.         Re-construct elevator shaft to accommodate new elevator

                        3.         Estimated cost for new elevator ...................................................... $50K

            4.         Two weeks to remove existing elevator and replace with new elevator.

III.         Southeast Elevator (South of common area):

            1.         Does not comply with current Texas Department of Licensing and Regulations as it applies to the Removal of Architectural Barriers.

            2.         Re-construct elevator shaft to accommodate new elevator

                        3.         Estimated cost for new elevator ...................................................... $50K

            4.         Two weeks to remove existing elevator and replace with new elevator.

IV.        Estimated New Elevator Costs.............................................................................. $270K

Edo.

