


EXHIBIT A
REQUIREMENTS & SCOPE OF SERVICES
RFP NO: 2008-
“CERTIFIED TECHNICAL SUPERVISOR FOR HIDALGO COUNTY’S ALCOHOL BREATH TEST PROGRAM”  
HIDALGO COUNTY
REQUEST FOR PROPOSAL

“CERTIFIED TECHNICAL SUPERVISOR FOR HIDALGO COUNTY’S ALCOHOL BREATH TEST PROGRAM
RFP NO: 2008-
Overview:
Hidalgo County (hereinafter referred to as “COUNTY”) is soliciting proposals for a “Certified Technical Supervisor” as listed in specifications to serve as the “Technical Supervisor For Hidalgo County’s Alcohol Breath Test Program”.  The initial term of this contract shall be for one (1) year with Hidalgo County’s Commissioners Court sole discretion to extend for two (2) additional one (1) year terms under the same rates, terms and conditions. The scope of the work/services will encompass all aspects of supervision, repair and maintenance of alcohol breath test equipment as further described herein. The information provided in the Request for Proposals (hereinafter referred to as “RFP”) is only to be used for the purpose of preparing a proposal for “Certified Technical Supervisor” to provide the technical, administrative and supervision expertise in safeguarding the scientific integrity of the breath alcohol testing program and to assure the breath alcohol testing program’s acceptability for evidential purposes.  Request For Proposals will be accepted until 9:30 A.M., Wednesday, , 2008.  ANY RFP RECEIVED AFTER THAT TIME WILL NOT BE OPENED AND WILL BE RETURNED.
Deliver Submittal to:

RFP Number:  2008-
	US Postal Mail Address:
Martha L. Salazar, CPPB, Purchasing Agent

Hidalgo County Purchasing Department

Administration Building

2812 S. Business Hwy 281
Edinburg, Texas  78539
	Physical Address:
Martha L. Salazar, CPPB, Purchasing Agent

Hidalgo County Purchasing Department

Administration Building

2802 S. Business Hwy. 281
Edinburg, Texas  78539


The Submittal Envelope Must Show The RFP Number, Name And Opening Date.

The following information outlines the Request For Proposals:

SECTION I  -GENERAL TERMS AND CONDITIONS
ADDITIONAL INFORMATION:  Hidalgo County is requesting that request for proposals be routed to Martha L. Salazar, CPPB, Purchasing Agent, at:

	US Postal Mail Address:
Martha L. Salazar, CPPB, Purchasing Agent

Hidalgo County Purchasing Department

Administration Building

2812 S. Business Hwy 281

Edinburg, Texas  78539
	Physical Address:
Martha L. Salazar, CPPB, Purchasing Agent

Hidalgo County Purchasing Department

Administration Building

2802 S. Business Hwy. 281

Edinburg, Texas  78539


WRITTEN QUESTIONS WILL BE ACCEPTED VIA FACSIMILE NO LATER THAN Wednesday, , 2008, at 5:00 P.M. at (956) 318-2629.  Responses will be sent to all applicants via facsimile by Friday, , 2008.  TELEPHONE INQUIRIES WILL NOT BE ACCEPTED.

DISCLOSURE OF CONFLICT OF INTEREST:

Effective January 1, 2006, Chapter 176 of the Texas Local Government Code requires that any vendor, person, consultant or contractor considering doing business with Hidalgo County (“the County”) to disclose in the Conflict of Interest Questionnaire (the “CIQ”) attached as Exhibit D, the vendor, person consultant or contractor’s affiliation or business relationship that might cause a conflict of interest with the County.  By law, the CIQ must be filed with the Hidalgo County Clerk’s Office no later than the seventh business day after the date the person becomes aware of facts that require that statement to be filed.  The disclosure requirement applies to a person or business who contract or seeks to contract with Hidalgo County for the sale or purchase of property, goods or service.  Any purchase order or contract resulting from this process shall be considered null and void if the Vendors, consultants, contractors and others who desire to conduct business with Hidalgo County are encourage to refer to Texas Local Government Code Chapter 176 for the details of this law.  An offense under Texas Local Government Code Chapter 176 is a Class C Misdemeanor.

Please submit complete CIQ forms to the Hidalgo County Clerk’s Office locate at 100 No. Closner, Edinburg, Texas  78539-Hidalgo County Courthouse COMPLETION AND SUBMISSION OF FORM CIQ IS THE SOLE RESPONSIBILITY OF THE PROSPECTIVE BIDDER.

PROPOSER’S AFFIDAVIT:

Prior to contract award, respondents to this RFP must submit a signed Proposer’s Affidavit (attached herein as Exhibit E) certifying that the submission is (1) not the result of Collusion as described in the Proposer’s Affidavit or that the Respondent has not and will not attempt to lobby directly or indirectly as described  in the Proposer’s Affidavit.

NON-DISCRIMINATION:  

Submitters, during the performance of this contract, will not discriminate against any employee or applicant for employment because of race, religion, sex, national origin or disability except where religion, sex, national origin or disability is a bona fide occupational qualification reasonably necessary to the normal operation of the contractor.

PROCESSING TIME FOR PAYMENT:  

Submitters are advised that a minimum of thirty (30) days is required to process invoices for payment.

ELECTRONIC TRANSMISSION OF BIDS:  

Hidalgo County's Purchasing Department will not accept telegraphic or electronically transmitted submissions.

PROOF OF FINANCIAL AND BUSINESS CAPABILITY:
Submitters must, upon request, furnish satisfactory evidence of their ability to furnish products or services in accordance with the terms and conditions of these requirements.  Hidalgo County will make the final determination as to the submitter's ability. Contactor shall be in good standing with the Texas Comptroller’s Office.  A Contractor found to not be in good standing with the Texas Comptroller’s Office shall be grounds for disqualification of its RFP or may result in termination of an active contract. 
SUBMITTER DEFAULT:  

Hidalgo County reserves the right, in case of submitter default, to procure the articles or services from other sources and hold the defaulting submitter responsible for any excess costs occasioned thereby.

RESTRICTIVE OR AMBIGUOUS REQUIREMENTS:  

It is the responsibility of the submitter to review the Request for Proposal (RFP) packet and to notify the Purchasing Department if the requirements are formulated in a manner that would unnecessarily restrict competition.  Any such protest or question regarding the requirements or proposers procedures must be received in the Purchasing Department not less than seventy-two hours prior to the time set for the bid opening.  These criteria also apply to requirements that are ambiguous.
HAND DELIVERED PROPOSALS:  

Hidalgo County requires submitters, when hand delivering proposals, to ascertain its proposal is timely stamped and dated by the County Purchasing Staff.
SIGNING OF PROPOSALS:   

In order to be considered all submittals must be signed.  Please sign the original in blue ink.
WAIVING OF INFORMALITIES:  

Hidalgo County reserves the right to waive minor informalities or technicalities when it is in the best interest of Hidalgo County.

SUBCONTRACTING:  

The successful submitter may not subcontract the award without the written consent of the Commissioners’ Court of Hidalgo County.

TERM OF CONTRACT:

The initial term of the contract shall be for one (1) year with Hidalgo County Commissioners Court sole discretion to extend/renew for two (2) additional one (1) year terms under the same rates, terms and conditions.

Hidalgo County reserves the right to continue this bid for an additional sixty (60) day grace period at the end of the contract term for unforseen delay in award of new bid for next contract term, under the same rates, terms and conditions.

DAVIS BACON ACT:

All selected and awarded firms are required to include the Davis-Bacon Act when advertising and developing specifications (if applicable).
SECTION II - RFP REQUIREMENTS
REQUEST FOR PROPOSALS:
The required contents and limitations for the preparation of the RFP are described in this section.  Failure to provide the requested information or adhere to any County limitations will result in disqualification of the submitted RFP. A total of one (1) original and seven (7) copies of the RFP shall be submitted to the address on the cover letter.

UNDERSTANDING OF THE PROJECT:

This section should demonstrate the proposers understanding of the project needs, the services required, and any local issues or concerns.  Briefly explain how long you have been organized and your business objectives. Explain how long you have been in business. This description should be concise, candid, and limited to 3 pages in length.
PROPOSER’S QUALIFICATIONS:

Hidalgo County is soliciting to contract with a “Certified Technical Supervisor” meeting the minimum requirements described in 37 Texas Administrative Code, Part 1 Section 19.6 and as stated in this RFP.  

PERSONNEL AND STAFFING:  

The proposers should provide an organizational chart for the project and a summary paragraph of the project work to be performed by each proposed staff member.  Biographic summaries that highlight the experience relevant to the specific project responsibilities should be provided for all proposed personnel.  There is a one (1) page limitation for each biographic summary provided.  Information regarding the proposer’s credentials, education and experience with other entities is required and will be scored accordingly during the evaluation process.

REQUIRED CERTIFICATES AND SUBMITTAL:  

This section will contain any/all licenses, registrations, permits, and certifications as required by the STATE OF TEXAS and HIDALGO COUNTY that RFP respondent possesses that deem him/her qualified as a certified technical supervisor.
If proposer/vendor cannot meet any of the following services/responsibilities, such exceptions must be noted on the company’s cover letter.

SCOPE OF SERVICES/REQUIREMENTS:

Hidalgo County is soliciting to contract with a qualified certified technical supervisor who is qualified to provide the technical, administrative and supervision expertise in safeguarding the scientific integrity of the breath alcohol testing program and to assure the breath alcohol testing program’s acceptability for evidential purposes. The County currently owns and operates Intoxilyzer 5000s located at the following addresses:

1. One (1) Hidalgo County Jail (Edinburg, Texas)
2. One (1) Palmview Police Department (Palmview, Texas)
3. One (1) San Juan Police Department (San Juan, Texas)
4. One (1) Weslaco Police Department (Weslaco,Texas)
The successful candidate for this RFP shall meet the minimum qualifications for certification as a technical supervisor as described in 37 TAC Part 1 Chapter 19 Requirements for Certification of a Technical Supervisor, which includes but is not limited to:

1. A baccalaureate degree in science from an accredited college or university with at least 18 hours of chemistry, with no more than 8 hours of chemistry at the freshman level.

2. Satisfactory completion of a course of instruction as set froth in 37 TAC Part 1, Chapter 19.5(a)(3) related to Operator Certification.

3. Satisfactory completion of technical supervisor training that is approved by the Scientific Director in accordance with 37 TAC Part 1, Chapter 19.6 (b)(3).

4. Knowledge and understanding of the scientific theory and principles as to the operation of the breath alcohol testing instruments and reference sample devices.

5. Successfully pass the Technical Supervisor certification exam.

6. a clean conviction history in accordance with 37 TAC Part 1, Chapter 19.6 (b)(6).

 The successful candidate shall:

1. Be competent in Intoxilyzer ethanol and flow calibration. 
2. Provide repair parts at no cost to the County where repair is necessitated by routine wear and tear. 

3. Provide the services as required and requested by County.  

4. Have knowledge of laws and state regulations pertaining to breath alcohol testing and experience in breath alcohol testing.

5. Meet the requirements set forth in the Texas Breath Alcohol Testing Regulations, meet reporting requirements and providing technical supervisory instruction as necessary.

6. Determine if instrument/equipment by serial number is one of the same manufacturer brand or model designation as shown on the State’s scientific director’s approved list and meets the criteria for the certification as required by the State Of Texas for the use of the breath testing (Intoxilyzer 5000) services.

7. Satisfactory completion of technical supervisor training that is approved by the scientific director, the content of which shall include, but not be limited to:

· Advanced survey of current information concerning alcohol and its effects on the human body;

· Operational principles and theories applicable to the program;

· Instrument operations, maintenance, repair and calibration;

· Legal aspects of breath alcohol analysis;

· Principles of instruction;

· Knowledge and understanding of the scientific theory and principles as to the operation of the instrument and reference sample device;
8. Insurance Certificates as per “Exhibit C” must be submitted to the Purchasing    Department prior to any services being performed by the awarded bidder.

9. Be available to testify and give expert testimony on behalf of District Attorney on an “As Needed Basis” and/or “As Required”.
PROPOSERS ARE TO PROVIDE A FEE SCHEDULE WITH THIS SUBMITTAL:

Proposer(s) are to provide a proposed fee on the attached fee schedule based on the scope of services/work requested on a “Per Machine Basis/Per Location Site”.  The County has full discretion to use the services of the successful proposer on an “as needed basis” and may not include all breathalyzer equipment owned and/or operated by County.  

All/Any costs and expenses associated with the preparation and submission of (bids, proposals and/or quotes) shall be the responsibility of the proposer and not reimbursements for such charges or expenses shall be passed onto Hidalgo County.
NUMBER OF COPIES TO BE SUBMITTED:  

Hidalgo County requires one (1) original submittal and seven (7) copies.

SECTION  III – SELECTION/EVALUATION/RANKING
SELECTION/EVALUATION/RANKING PROCESS:
The evaluation consists of a 100-point scoring system based on the “Evaluation Criteria”- Exhibit B.  The participants will be ranked after evaluation by Hidalgo County Commissioners Court or their representatives.  RFP submittal evaluation will be based on the criteria outlined below.

(A)
The Hidalgo County Commissioners and/or an Evaluation Committee (selected and/or designated by Hidalgo County Commissioners) will review, scores and evaluate the RFPs received in response to this “Request For Proposals”.

(B)
After the RFPs have bee reviewed, scored and evaluated, the committee will present the grid to the Hidalgo County Commissioners Court for the purposes of ranking.

Proposals will be graded on a 100-point system with emphasis on ability to service the Alcohol Breath Test Program for Hidalgo County.
1.
Proposal price for services:





(35 Points)

· In considering the proposal, Hidalgo County reserves the right to select the applicant that is most advantageous/qualified for the Program.

2.
Experience/Qualifications: 





(30 Points)
Proposer’s qualifications (e.g. licenses/certificates).  Evidence of Proposer’s 
previous experiences with the services being requested.  

3.
Proposer’s Responsiveness to the RFP:



(20 Points)

· Requested information included and thoroughness of response.
· Understanding and acceptance of the scope of services.

· Acceptance of the RFP and Draft Contract Document.
· Applicable certificates, licenses, permits etc. included in response.

· All RFP Forms completed.
4.
ABILITY TO COMMIT TO ALL REQUIRED “SERVICES”
(15 Points)


The proposer should provide as much background information as to its experiences in providing similar services to other government agencies as described and detailed in specifications /requirements and understanding of commitment to Agency for such services.
NEGOTIATION PROCESS:

Emphasis will be placed on qualifications, experience and capability to perform the services as well as the best proposal that meets the needs of Hidalgo County. Accuracy and completeness are essential.   Hidalgo County reserves the right to reject any and all RFPs.  
RFP SUBMITTED TO:  An original and seven (7) copies of RFPs should be submitted to:

	US Postal Mail Address:
Martha L. Salazar, CPPB, Purchasing Agent

Hidalgo County Purchasing Department

Administration Building

2812 S. Business Hwy 281

Edinburg, Texas  78539
	Physical Address:
Martha L. Salazar, CPPB, Purchasing Agent

Hidalgo County Purchasing Department

Administration Building

2802 S. Business Hwy. 281

Edinburg, Texas  78539


RFPs must be submitted by no later than 9:30 a.m. on Wednesday, , 2008.  
PROPOSAL FEE SCHEDULE
Proposer(s) are to provide a proposed fee on the attached fee schedule based on the scope of services/work requested on a “Per Machine Basis/Per Location Site”.  The County has full discretion to use the services of the successful proposer on an “as needed basis” and may not include all breathalyzer equipment owned and/or operated by County.  
Location Of Machines:

1.
One (1) Hidalgo County Jail



$______________


(Edinburg, Texas)
2.
One (1) Palmview Police Department


$______________


(Palmview, Texas)
3.
One (1) San Juan Police Department


$______________


(San Juan, Texas)
4.
One (1) Weslaco Police Department


$_______________


(Weslaco, Texas)
Emphasis will be placed on qualifications, experience and capability to perform the services as well as the best proposal that meets the needs of Hidalgo County. Accuracy and completeness are essential.   Hidalgo County reserves the right to reject any and all RFPs.  

PAGE  
9

