



EXHIBIT “A”
HIDALGO COUNTY 

“BOILERS MAINTENANCE SERVICE”
RFB No. 10-091-00-00CGV
SPECIFICATIONS

Overview:
Hidalgo County is seeking request for bids from qualified vendor(s) to provide services for “Boilers Maintenance Service” on an “As Needed Basis” only, including but not limited to, the following:
Requirements and/or Terms & Conditions:
· All prices for inspections, repairs and maintenance shall include consideration for hourly rate plus parts percentage mark up (if applicable).
· Vendor submitting a bid will use authorized licensed technicians for repairs, servicing and certificate of operation for any boiler equal 100 gallons or more. 
A-
Manufactured through teledyne laars serials co1f04569/ co1f04570

B-
Have the following safety controls tested once a year:

1.
primary low water cutoff/ flow switch

2.
high gas pressure switch

3.
low gas pressure switch

4.
high limit control – operating control

5.
boilers should be cleaned on an annual basis

(clean boiler tubes / clean gas tubes & check igniters, adjust if necessary)
7.        check heat exchanger tubes and manifold for water leaks  

8.
check butterfly water valves ensure individual boilers can be isolated for emergencies (replace when necessary)
check centrifugal pumps & electric motors for grounding

10.
start and operate boiler - 

11.
conduct water test.

12-
turn in report of inspection
· All billing invoices must be itemized (parts, labor, etc....) 
· Vendor respond time upon call on regular basis per hour;
· Vendor respond time upon call on emergency basis per hour;
· Travel time from area:  (how many times will we be charged travel expenses upon call) 
· What will be the travel cost by fee on hourly rate;
· Vendor must be able to respond within reasonable time for onsite repairs.
· Vendor must also be available for trouble shooting via telephone.
          Please submit a respond:
time to location   ____________________​____________________
respond time for troubleshooting.  ___________________________
· All costs and expenses associated with the preparation and submission of all quotes shall be the responsibility of the bidder and no reimbursements for such charges or expenses shall be passed onto Hidalgo County.
· Hidalgo County may utilize state awarded vendors whenever it is in the county’s best interest to do so.
· A list of a minimum of two (2) current references/contracts for any state, local political subdivision, private sector or any other law enforcement agency must be submitted with your bid. Information should include the following:
a). company
b). contact person
c). phone number
           
d). work performed
· Vendor shall have been in business (in this field) a minimum of three (3) years.
· Hidalgo County reserves the right to:  

1. separate, accept, or eliminate any items(s) listed under this bid that it deems necessary to accommodate budgetary and/or operational requirements; 

2. reject any or all bids submitted and further reserves the right to design the evaluation criteria to be used in selecting the lowest selecting the lowest and best bid for approval; and 

3. award the bid to one bidder or to multiple bidders if the county determines it is in the best interest to do so.

TERM:

· The initial contract term will be for one (1) year with the county’s option to  extend for two (2) additional one (1) year terms under the same rates, terms and conditions.

· Vendor must submit and maintain current all proper insurances for the duration of contract. (refer to exhibit c).

EXHIBIT “B”
HIDALGO COUNTY 

“BOILERS MAINTENANCE SERVICE”
RFB No. 10-091-00-00CGV
BID PAGE

Repairs should be for an hourly/time repair rate with mark up rate for parts. Any and all additional fees should be included in bid price (Reference to Exhibit “A” Specifications).                                                                               

I.
MECHANICAL SYSTEM:
A. Technician Hourly Rate __​​​​_________ 
· Normal Business Hours    ________ A.M. to _________ P.M. 
B. Technician Hourly Rate ___________ 
· After Hours, Weekends & Holidays   ______ A.M. to   ______ P.M. 
C.
Mark Up (%) Rate for Electronics Parts: _____________________________  
D.
Mark Up (%) Rate for Mechanical Parts: _____________________________               

E.
Parts lot for PM purposes as recommended by vendor: _________________
II.
TROUBLE SHOOTING (PHONE) FEE PER HOUR:  ______________________

· PLEASE SPECIFY WHAT TIME FEE STARTS FOR TECHNICIAN:  _________                                        

PLEASE STATE ALL WARRANTIES: ___________________________________________
VENDOR SUBMITTING QUOTE MUST WARRANTY ALL WORK PERFORMED                                                                              

VENDOR / COMPANY NAME:  __________________________________
ADDRESS:  ________________________________________________
CITY/STATE/ZIP CODE:     ___________________________________
PHONE NUMBER:  ___________________  FAX NUMBER:____________________
AUTHORIZEDSIGNATURE: _________________  

PRINTED NAME__________________________
TITLE   _________________________________ DATE: ____________________________ 

RFB-2010-091-00-00CGV-Boiler Maintenance Service
Page 2

