 SEQ CHAPTER \h \r 1  

COUNTY OF HIDALGO


§

STATE OF TEXAS



§

AFFIDAVIT

Before me, the undersigned authority, personally appeared who, being by me duly sworn, deposed as follows:

My name is Frank Flores, I am of sound mind, capable of making this affidavit, and personally acquainted with the facts herein stated:

I am the custodian of the records of the Agua Special Utility District located in Hidalgo and Starr Counties, Texas.  Attached hereto are ___________________(  ) pages of records known as the Order Adopting Rules of the Agua Special Utility District for On-Site Sewage Disposal Systems and the minutes of the _____, 2010 meeting adopting the Order.  The records are kept by me as General Manager of Agua Special Utility District, in the regular course of business with knowledge of the act, event, condition, opinion, or diagnosis, recorded to make the record or to transmit information thereof to be included in such record; and the record was made at or near the time or reasonably soon thereafter.  The record attached hereto is the original or exact duplicate of the official record.









___________________________








Frank Flores, General Manager









Agua Special Utility District
BEFORE ME, the undersigned authority, a Notary Public in and for said Hidalgo County, Texas, on this day personally appeared Frank Flores, known to me to be the person whose name is subscribed to the foregoing instrument and acknowledge to me that he/she executed the same for the purposes and consideration therein expressed.

GIVEN UNDER MY HAND AND SEAL OF OFFICE  this __________ day of _______, 20__.

(SEAL)

______________________________

Notary/Public, State of Texas

My commission expires:

ORDER ADOPTING RULES OF THE AGUA SPECIAL UTILITY DISTRICT
FOR ON-SITE SEWAGE DISPOSAL SYSTEMS
PREAMBLE


WHEREAS, the Texas Commission on Environmental Quality (TCEQ) has established Rules for on-site sewage disposal systems to provide the citizens of this State with adequate public health protection and a minimum of environmental pollution; and


WHEREAS, the Legislature has enacted legislation, codified as Texas Health and Safety Code (THSC), Chapter 366, which authorizes a local government to regulate the use of on-site sewage disposal systems in its jurisdiction in order to abate or prevent pollution or injury to public health arising out of the use of on-site sewage disposal facilities; and


WHEREAS, due notice was given of a public meeting to determine whether the Agua Special Utility District should enact a order controlling or prohibiting the installation or use of on-site sewage disposal systems in the service area of the Agua Special Utility District; and


WHEREAS, the Agua Special Utility District finds that the use of on-site sewage facilities in the district’s service area is causing or may cause pollution, and is injuring or may injure the public health; and


WHEREAS, the Agua Special Utility District has considered the matter and deems it appropriate to enact a Order adopting Rules regulating on-site sewage facilities to abate or prevent pollution, or injury to public health in the boundaries of the Agua Special Utility District.

WHEREAS, the District finds it necessary to amend its rules in order to accomplish the purposes for which it was created; and

IT IS, THEREFORE, ORDERED BY THE BOARD OF DIRECTORS OF THE AGUA SPECIAL UTILITY DISTRICT THAT:


SECTION 1. PREAMBLE.  All of the above premises are hereby found to be true and correct legislative and factual findings of the District and are hereby approved and incorporated into the body of this order as if copied in their entirety.


SECTION 2.  CONFLICTS.  This Order replaces any other on-site sewage facility (OSSF) authorized agent order or resolution adopted by the Agua Special Utility District.

SECTION 3.  CHAPTER 366.  The Agua Special Utility District clearly understands that there are technical criteria, legal requirements, and administrative procedures and duties associated with regulating on-site sewage facilities, and will fully enforce Chapter 366 of the THSC and Chapters 7 and 37 of the Texas Water Code (TWC), and associated rules referenced in this Order.

SECTION 4.  That the Rules of Agua Special Utility District are hereby amended by adding new Article 12: On-Site Sewage Disposal Systems, which said article reads as follows:

Sec. 12-1.
Area of Jurisdiction.

This Article shall apply to all the areas lying within the boundaries of the Agua Special Utility District located within Hidalgo County, but does not apply to any of the areas within the District that are within the incorporated areas of any municipality that is wholly or partially located within the District.  The areas to which this Article applies shall be referred to as the “Jurisdictional Area” for purposes of this Article.

Sec. 12-2.
OSSF Requirements.

(a)
Any permit issued for an on-site sewage facility (OSSF) within the jurisdictional area of the District shall comply with this Article.
(b)
Chapter 285, Subchapters A and G of Title 30 of the Texas Administrative Code and the rules of Hidalgo County, Texas relating to on-site sewage facilities and all future amendments and revisions thereto, and are hereby adopted and incorporated by reference and are thus made a part of the Rules of the District.
(c) 
All Texas Water Development Board statutes, rules and regulations now or hereafter applicable to an economically distressed area shall apply to permitting associated with on-site sewage facilities.

(d)
A permit shall be required for all OSSFs located within Jurisdictional Area regardless of the size of the tract to be served by the facility.  Pursuant to the Interlocal Agreement between the District and Hidalgo County incorporated into this Article under section 12-3, an applicant shall apply to the County for all required permits necessary to comply with the requirements of this Article.
(e)
Prior to the issuance of a permit, and in order to ensure floodplain issues are properly addressed, an applicant for an OSSF must obtain determination from the Hidalgo County Floodplain Administrator that the tract to be serviced by the OSSF is in compliance with the Hidalgo County Flood Damage Prevention Order.

(f)
An applicant is required to insure that all persons and/or entities retained by the applicant to install an OSSF on the applicant’s tract maintain a copy of their current certificate/registration at the job-site while installation of the OSSF is in progress.
(g)
A re-inspection fee is due to the County on the OSSF each time a re-inspection is required.  The re-inspection fee shall be set in accordance with the Interlocal Agreement, as adopted pursuant to section 12-3 of this article, and may be revised from time to time.

(h)
In no case shall the sewer line diameter for the proposed OSSF be reduced to a size smaller than the sewer stub-out for the improvements to be serviced by the OSSF.

(i)
No personal property, including but not limited to picnic tables, play equipment or BBQ pits shall be placed within the surface application spray area of the OSSF installed on the applicant’s tract.

(j)
All officials and employees of the Agua Special Utility District, and of Hidalgo County, having duties under this Article are authorized to perform such duties as are required of them under this Article.
(k)
An applicant for an OSSF shall obtain from the County an installation permit and a final inspection permit before each phase of inspection. The installation permit and final inspection permit fees shall be set by the County Commissioners Court and the County may revise this fee from time to time.

(l)
The installation permit shall be obtained by the applicant before beginning any development or construction. The homeowner/developer must present to the County the appropriate OSSF site plans and meet all of the OSSF guidelines as required by the District, Hidalgo County and TCEQ.  In addition, the homeowner/developer must have approval from the Hidalgo County Planning Department prior to site development before starting construction.  In the event of a commercial development, the owner/developer shall obtain a Fire Marshal inspection/approval to assure continuation of the project.  The Fire Marshal must be an official representative of the County.  The homeowner/developer has one (1) year to construct its OSSF(s) from the date an installation permit is issued by the County. Should construction not be completed and a final inspection conducted by County within one (1) year from the date of the issuance of the installation permit, then the County shall require the homeowner/developer to submit a new application and fee as described herein. 
(m)
The final inspection permit shall be obtained when the dwelling/commercial development is completed and the final connections from the dwelling/commercial development to the system are made and confirmed. The final inspection will also consist of a confirmation that the system installed meets the guidelines in accordance to the final square footage of the structure built.  In the event that the dwelling/commercial development constructed is larger than initially approved by the County and Hidalgo County Planning Department officials, the homeowner may be required to upgrade the OSSF in order to meet the District, Hidalgo County, and TCEQ requirements.  Final approval of the dwelling/commercial development will not be given until the final inspection by the County is completed.
(n)
Upon final inspection, the County’s inspectors must visually confirm that the identified dwelling/commercial development is physically connected to the OSSF.  In addition, the inspector must verify that there is no additional dwelling connected to the single approved system.  These inspections are to assure that Hidalgo County’s requirements are met in regards to the “one single family detached dwelling per lot rule.”
(o)
It is the homeowner’s responsibility to ensure that only one officially approved dwelling is connected to the OSSF.  Violation of this requirement may lead to an issuance of a citation resulting in fines and additional legal action.
(p)
In the event of a pre-existing building or agricultural site requiring an electrical service, an inspection must be made to assure that there is no additional structure illegally connected to the existing OSSF.
(q)
Regarding multi-family units, i.e., duplex, apartments, etc., the owner/developer shall meet all the District’s, Hidalgo County’s, and TCEQ requirements concerning the OSSF, i.e., tank capacity, length of drain field and the size of lot to be built on.  In addition, the owner/developer must meet all the Hidalgo County Planning Department requirements and Hidalgo County Fire Marshall guidelines.

Sec. 12-3.
Interlocal Agreement with the County.

(a) 
The Interlocal Agreement between Hidalgo County and Agua Special Utility District, attached hereto as Appendix A to this Article, is hereby adopted as rule by reference and incorporated herein and is thus made a part of the Rules of the District.

(b)
Acting on behalf of the District pursuant to the Interlocal Agreement, Hidalgo County is authorized to permit and inspect all OSSFs within the Jurisdictional Area, may charge any and all necessary fees directly to the applicant and the permittee for services rendered on behalf of the District, and may bring enforcement actions against any person or entity that violates this Article.

(c)
All fees collected for permits and/or inspections shall be made payable to the Hidalgo County.  A fee of $10 will also be collected for each OSSF permit to be paid to the On-Site Wastewater Treatment Research Council as required by the THSC, Chapter 367. 
(d)
Hidalgo County’s designated representative, as required by section 285.2(17) of Title 30 of the Texas Administrative Code, shall be the District’s designated representative.

(e)
On behalf of the District, the County is authorized to enforce this Article and to undertake the activities and enforcement responsibilities required by section 285.71 of Title 30 of the Texas Administrative Code.

Sec. 12-4.  Appeals.
Persons aggrieved by an action or decision of the designated representative may appeal such action or decision to the Board of Directors of the Agua Special Utility District.

SECTION 5.  DUTIES AND POWERS.  The Designated Representative (DR) (30 TAC § 285.2(17)) of the Agua Special Utility District must be certified by the TCEQ before assuming the duties and responsibilities.


SECTION 6. ENFORCEMENT PLAN.  The District clearly understands that, at a minimum, it must follow the requirements in 30 TAC § 285.71 relating to Authorized Agent Enforcement.  This Order adopts and incorporates all applicable provisions related to OSSFs, which includes, but is not limited to, those found in Chapters 341 and 366 of the THSC, Chapters 7, 26, and 37 of the TWC and 30 TAC Chapter 30, Subchapters A and G, and Chapter 285.

SECTION 7.  SEVERABILITY.  It is hereby declared to be the intention of the Board of Directors of the District, that the phrases, clauses, sentences, paragraphs, and sections of this Order are severable, and if any phrase, clause, sentence, paragraph, or section of this Order should be declared unconstitutional  by the valid judgment or decree of any court of competent jurisdiction, such unconstitutionality shall not affect any of the remaining phrases, clauses, sentences, paragraphs, or sections of this Order, since the same would have been enacted by the board without incorporation in this Order of such unconstitutional phrases, clauses, sentences, paragraphs, or sections.

SECTION 8.  RELINQUISHMENT OF ORDER.  If the Board of Directors for the District finds that it no longer wishes to regulate OSSFs in its area of jurisdiction, the board, as the authorized agent, and the TCEQ shall follow the procedures outlined in 30 TAC § 285.10 (d) (1) through (4).  After relinquishing its OSSF authority, the authorized agent understands that it may be subject to charge-back fees in accordance with 30 TAC § 285.10 (d) (5) and §285.14 after the date that delegation has been relinquished.

SECTION 9.  EFFECTIVE DATE.  This Order shall be in full force and effect from and after its date of approval as required by law and upon the approval of the TCEQ.

SECTION 10.  NOTICE AND MEETING CLAUSE.  It is hereby officially found and determined that the meeting at which this Order was passed was open to the public and that public notice of the time, place and purpose of said meeting was given as required by the Open Meetings Act, Chapter 551 of the Texas Government Code.  


PASSED AND APPROVED ____ day of _________, 2010.







___________________________________







President, Board of Directors

ATTEST:
__________________________

Secretary, Board of Directors

