INSTRUCTIONS TO BIDDERS

Bidder(s) shall supply, where needed (on an “as needed” basis) in Hidalgo County or job site, “PIPES-(Reinforced Concrete Tongue and Groove, Rubber Gasket Joint Pipe, Polyethylene Pipe, Inlets, & Manholes”.

Bid information will be furnished to all Hidalgo County departments requiring pipes and delivery will involve numerous locations within Hidalgo County.

- LOCATIONS – Departments requiring pipes.

- DELIVERY INSTRUCTIONS

Delivery hours will be arranged with each department requiring pipes.  Bidder(s) shall deliver the amount of product requested to location or job site required within 24 hours, or earlier, if requested.  Bidder(s) agree(s) that, to the extent an item is unavailable from bidder’s own inventory, bidder(s) will be responsible for locating an alternative supplier and for providing the product to Hidalgo County for the bid price.  VENDOR(S) MUST UNLOAD ANY/ALL PIPES AT THE REQUESTED SITE(S).

- BID AWARD

- Contract will commence upon award and go through December 31, 2012.

- Hidalgo County reserves the right to continue this bid for an additional sixty (60) day grace period at the end of the contract term under the same rates, terms and conditions for unforeseen delay in award of new bid for next contract term.

- Hidalgo County may award the bid on a lump sum basis to one (1) bidder or to multiple bidders on an item by item basis in each category, whichever is in the best interest of the County.  For evaluation and consideration of items bid, samples will be submitted upon request.  Categories will be as follows:

- Category A:  Pipes

- Category B:  Inlets

- Category C:  Manholes

- Insurance Certificates (Exhibit “C”) must be submitted to Hidalgo County for approval prior to any services being performed by the awarded bidder.

- The bidder(s) awarded the contract cannot engage the services of a subcontractor without prior written consent of Hidalgo County for the retention of a subcontractor to perform services hereunder.  The successful bidder(s) must present evidence that the proposed subcontractor possess all the necessary licenses and permits to perform the services and the subcontractor has obtained the required insurance which names the contractor as an additional insured.  Requesting authorization for subcontracting does not constitute compliance with the primary specification contained herein which state the minimum number vendor owned vehicles required.

- The County reserves the right to reject any or all bids, to waive any or all formalities or accept the bid considered the best and most advantageous to the County.

- After bid is awarded and low bidder(s) default(s) in meeting the general instructions to bidders and/or comply with contractual agreement, Hidalgo County reserves the right to seek services from the next low bidder(s).  In such event, County shall charge the successful bidder(s) the difference for any additional cost of such item(s).

- Any contract award to a successful bidder will be in effect until (a) the contract expires, (b) delivery and acceptance of products, and/or performance of services ordered or (c) terminated by the County with thirty day’s written notice prior to cancellation.

- All costs and expenses associated with the preparation and submission of proposals shall be the responsibility of the submitter and no reimbursements for such charges or expenses shall be passed onto the County.

- Market Volatility and Unit Price Adjustments:

Hidalgo County recognizes that during periods of national crisis and unstable economic conditions, unforeseen price increases might affect costs for goods and services contracted on an annual basis.  The following procedure may be employed to mediate price volatility:

·	Requesting Price Adjustment:  Upon written request of the Vendor to the County Purchasing Agent, the County may review evidence of prevailing industry-wide market conditions that warrant an adjustment in bid prices contained in the contract.

·	A Vendor must tie any price change clause to an industry-wide or otherwise nationally recognized index, or some other form of verifiable document.  Such written request must be accompanied by a certified copy of the supplier’s advisory or notification to the vendor of the price changes.

·	The Vendor must put the Purchasing Agent on the mailing lists for such publications so that the Purchasing Agent can monitor said changes.  Such membership shall be at no cost to the County.

·	The County Purchasing Agent retains the right to determine whether or not such proposed price changes are in the best interest of the County.

·	No price escalation will be authorized in excess of the amount of the increase referred to in the supplier’s notice.

·	The County may only grant a price increase if the evidence presented is deemed reliable. Should the County allow a price increase, the approved price change shall be honored for all orders received by the vendor or contractor after the effective date of such price change.  Approved price changes are not applicable to orders already issued and in process at time of price change.

·	Price Reduction:  Vendor shall notify the County at the time when the Vendor’s costs for items and/or supplies reduce due to stabilization in the market at which time prices for items on this contract shall be reduced accordingly.  Failure by the Vendor to notify the

County of a decrease in costs for items and/or supplies for which the Vendor was granted a price adjustment, may result in immediate termination of this contract and the County shall not be obligated to pay the Vendor the difference between the contract price and the price adjustment.

·	Time Frame for Adjusted Price Increases:  Price increases are only valid for the quarter in which they are requested and approved.  Prices shall return to the original contract price at the beginning of the following quarter unless a Vendor notifies the County in writing within ten (10) days of expiration of the quarter in which the price increase is in effect, that it desires to have the price increase continue or that the Vendor is requesting a different price increase for the following quarter.  Such request must be supplemented with sufficient justification to demonstrate that the price increase remains necessary.  The County Purchasing Department shall have sole discretion whether to grant the price increase extension.  The County too, shall have discretion to unilaterally reduce, eliminate or extend a price adjustment to the Vendor at any time upon written notice from the County to the Vendor demonstrating justification for such reduction, elimination or extension of the price adjustment.

·	Allowable Review Periods:  Price adjustment reviews may only be requested by the Vendor on a quarterly basis. However, the County may at its own discretion, conduct temporary price adjustment reviews at any time.   The County Purchasing Agent and/or the County Auditor reserve the right to audit and/or examine any pertinent books, documents, papers, records or invoices relating directly to the contract transaction in question after reasonable notice and during normal business hours.

·	Dollar Limit to Price Changes:  The total increase in contract price shall not exceed twenty-five percent (25%) of the original contract price during the contract term.

ADDITIONAL INFORMATION

Further information for this project can be addressed through the Hidalgo County Purchasing Department through Yvette Islas.  Hidalgo County is also requesting that any and all questions, inquiries and clarifications regarding this bid be addressed to Martha L. Salazar, CPPB/Purchasing Agent at 2802 S. Business Highway 281, Edinburg, Texas  78539.  TELEPHONE INQUIRIES WILL NOT BE ACCEPTED.

All written inquiries will be accepted via facsimile (956) 318-2629 or e-mail yvette.islas@co.hidalgo.tx.us no later than, Wednesday, September 21, 2011 at 5:00 p.m. Responses to said inquiries will be sent to all applicants via-facsimile by no later than 5:00 p.m., Friday, September 23, 2011.

REINFORCED CONCRETE PIPE - GASKET JOINT PIPE SPECIFICATIONS

| REINFORCED CONCRETE PIPE - GASKET JOINT PIPE SPECIFICATIONS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| CLASS III - ASTM C76 STANDARDS |  |  |  |  |  |  |
| PIPE | WALL | CONCRETE | CAGE |  |  | PIPE |
| I.D. | THICKNESS | STRENGTH |  |  |  | WEIGHT |
| (in) | (in) | (PSI) | TYPE | INNER | OUTER | (LBS) |
| 15 | 3.00 | 4,000 | SINGLE | 3"x6"-W1.75/W2.5 |  | 1,520 |
| 18 | 3.25 |  |  |  |  | 1,920 |
| 24 | 3.75 |  |  |  |  | 2,840 |
| 30 | 4.25 |  |  | 3"x6"-W2.5/W2.5 |  | 4,020 |
| 36 | 4.75 |  | DOUBLE |  | 3"x6"-W1.75/W2.5 | 5,520 |
| 42 | 5.25 |  |  | 3"x8"-W3.0/W2.0 |  | 7,100 |
| 48 | 5.75 |  |  | 3"x6"-W4.0/W2.5 | 3"x6"-W2.5/W2.5 | 8,280 |
| 54 | 6.25 |  |  | 3"x8"-W5.25/W2.5 | 3"x6"-W3.5/W2.5 | 9,800 |
| 60 | 6.75 |  |  | 2"x6"-W4.5/W2.5 | 3"x6"-W4.0/W2.5 | 12,184 |
| 72 | 7.75 |  |  | 2"x6"-W6.0/W2.5 | 3"x8"-W5.75/W3.0 | 15,900 |

| REINFORCED CONCRETE PIPE - GASKET JOINT PIPE SPECIFICATIONS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| CLASS IV - ASTM C76 STANDARDS |  |  |  |  |  |  |
| PIPE | WALL | CONCRETE | CAGE |  |  | PIPE |
| I.D. | THICKNESS | STRENGTH |  |  |  | WEIGHT |
| (in) | (in) | (PSI) | TYPE | INNER | OUTER | (LBS) |
| 15 | 3.00 | 4,000 | SINGLE | 3"x6"-W2.5/W2.5 |  | 1,520 |
| 18 | 3.25 |  |  |  |  | 1,920 |
| 24 | 3.75 |  |  | 3"x6"-W3.5/W2.5 |  | 2,840 |
| 30 | 4.25 |  |  | 3"x6"-W4.0/W2.5 |  | 4,020 |
| 36 | 4.75 |  | DOUBLE | 3"x6"-W3.5/W2.5 | 3"x6"-W2.0/W2.0 | 5,520 |
| 42 | 5.25 |  |  | 3"x8"-W5.0/W2.5 | 3"x6"-W3.0/W2.5 | 7,100 |
| 48 | 5.75 |  |  | 3"x6"-W6.5/W3.0 | 3"x6"-W4.0/W2.5 | 8,280 |
| 54 | 6.25 |  |  | 2"x8"-W5.75/W3.0 | 3"x8"-W5.0/W2.5 | 9,800 |
| 60 | 6.75 | 5,000 |  | 2"x8"-W7.0/W3.0 | 3"x6"-W6.25/W3.0 | 12,184 |
| 72 | 7.75 |  |  | 2"x8"-W10.0/W4.0 | 2"x8"-W6.0/W2.5 | 15,900 |

| REINFORCED CONCRETE PIPE - GASKET JOINT PIPE SPECIFICATIONS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| CLASS V - ASTM C76 STANDARDS |  |  |  |  |  |  |
| PIPE | WALL | CONCRETE | CAGE |  |  | PIPE |
| I.D. | THICKNESS | STRENGTH |  |  |  | WEIGHT |
| (in) | (in) | (PSI) | TYPE | INNER | OUTER | (LBS) |
| 15 | 3.00 | 6,000 | SINGLE | 3"x6"-W2.5/W2.5 |  | 1,520 |
| 18 | 3.25 |  |  |  |  | 1,920 |
| 24 | 3.75 |  | DOUBLE | 3"x6"-W3.0/W2.5 | 3"x6"-W2.5/W2.5 | 2,840 |
| 30 | 4.25 |  |  | 3"x6"-W4.5/W2.5 | 3"x6"-W3.0/W2.5 | 4,020 |
| 36 | 4.75 |  |  | 2"x6"-W4.5/W2.5 | 3"x6"-W4.0/W2.5 | 5,520 |
| 42 | 5.25 |  |  | 2"x8"-W6.0/W2.5 | 3"x8"-W5.75/W3.0 | 7,100 |
| 48 | 5.75 |  |  | 2"x8"-W8.0/W3.5 | 3"x8"-W7.0/W3.0 | 8,280 |
| 54 | 6.25 |  |  | 2"x8"-W10.0/W4.0 | 2"x8"-W6.0/W2.5 | 9,800 |
| 60 | 6.75 |  |  | 2"x8"-W11.5/W4.5 | 2"x8"-W7.0/W3.0 | 12,184 |
| 72 | 7.75 |  |  | 2"x6"-W8.5/W6.5 | 2"x8"-W10.0/W4.0 | 15,900 |

General Note:

- Concrete gasket pipe shall meet Bureau of Reclamation R-4 Joint O-Ring gasket ASTM C361 Standards and price quote shall be included with the pipes.

- All welded Wire Fabric Steel shall meet ASTM 82 and ASTM 185 Standards.

- Aggregates shall meet ASTM C 33 Standards.

- Fly Ash shall meet ASTM C 618-97 Standards.

- Type II Cement shall meet ASTM C 150 Standards.

- The maximum lengths of pipe sections shall be 8 feet.

The following are the technical requirements for the Reinforced Gasket Joint Concrete Pipe ASTM C-76 Class III.

D.1 GENERAL:

Pipe shall be manufactured and tested according to ASTM Designation:  C-361 except as hereinafter changed and further specified.  The requirements for cement, admixture, concrete strength, wall thickness, joints, manufacture and handling of pipe shall be in accordance with Paragraphs C-2, C-3, C-4, C-5, C-6, C-7, C-8, C-10, C-11, C-12, C-13 and C-14, respectively.

D.2 STEEL REINFORCEMENTS:

The reinforcing steel shall conform to requirements of Class III reinforced pipe, ASTM Designation:  C-76.  Reinforcements may be circular or elliptical.

D-3 PHYSICAL TEST REQUIREMENTS:

The test for internal hydrostatic pressure on the pipe shall not be less than that shown in Table “A” Paragraph C-10 thereof.  The test for minimum 3-edge bearing load (pounds per linear foot) shall not be less than that required for Class III reinforced concrete pipe, ASTM Designation C-76.

RELATED PARAGRAPHS C-2 CEMENT:

The cement shall be Type II, low alkali in accordance with Federal Specifications SS-C 1960/3.  The Contractor shall furnish certificates from the mill manufacturing the cement evidencing compliance with these specifications.

C-3 ADMIXTURE:

All concrete in concrete pipe placed by the placing and vibrated method shall have air-entraining agent conforming to ASTM Designations:  C260.  The amount of air-entraining agent used shall be such as will effect the entrainment of 2-1/2 + 1 percent of air by volume, of the concrete as discharged from the mixer.  Natural cement, slag cement, pozzolon or other mixtures shall not be added to the concrete without the written authorization of the Engineer in charge of the project.

C-4 CONCRETE STRENGTH:

The strength requirements shall be 4,000 pounds per square inch in 28 days.  The 4,000 PSI concrete test shall be in accordance with the latest edition of ASTM Designation:  C-76.

C-5 CONCRETE MIXTURE:

The aggregate requirements of the latest ASTM Designation:  C361 are changed to include, “the maximum size coarse aggregate shall be of the largest size practicable for placement considering the wall thickness of the pipe but shall not exceed 1-1/2 inches.  The percentage of coarse aggregate to the total aggregate shall be as high as practicable for manufacture of the pipe”.

C-6 CURING REQUIREMENTS:

The curing requirements in the latest edition of ASTM Designation:  C361 are changed to include this additional requirement at the end of the paragraph:  “If forms are stripped immediately after the pipe is cast and moved to the curing area, the concrete pipe shall not be lifted or tipped until a minimum concrete compressive strength of 2,500 PSI is attained.  Determination of the required strength shall be accomplished by tests of concrete cylinders as described in the latest edition of ASTM Designation:  C361”.

C-7 WALL THICKNESS:

The thickness of the pipe wall shall be not less than that shown in Table A, Paragraph C-10, Physical Test Requirements”, hereof.

C-8 PIPE LENGTHS:

The maximum lengths of pipe sections shall be 8 feet.

C-10 PHYSICAL TEST REQUIREMENTS:

The hydrostatic test pressures for the pipe and rubber gasket joint required in the latest edition of ASTM Designations 361 are changed to those specified in Table A.  The Contractor shall also perform external load crushing strength test on the pipe.  The external load crushing strength test shall be in accordance with the minimum three-edge bearing load as specified in Table A.

TABLE A:  PHYSICAL TEST REQUIREMENTS

| Internal diameter (inches) | Minimum Shell Thickness (inches) | Internal Hydrostatic Pressure On Individual Section of Pipe (PSI) | Minimum 3-Edge Bearing Load (pounds per linear foot) |
| --- | --- | --- | --- |
| 15 | 2 | 50 | 1,700 |
| 16 | 2 | 50 | 1,800 |
| 18 | 2 | 50 | 1,900 |
| 21 | 2 – ¼ | 45 | 2,100 |
| 24 | 2 – ½ | 40 | 2,200 |
| 30 | 2 – ¾ | 35 | 2,500 |
| 36 | 3 | 30 | 4.050 |
| 42 | 4 – ½ | 30 | 4,725 |
| 48 | 5 | 30 | 5,400 |
| 54 | 4 – ½ | 25 | 6,075 |
| 60 | 6 | 25 | 6,750 |
| 72 | 7 | 25 | 8,100 |

C-11 JOINTS:

Joints shall be made with round rubber gasket in conformance with the latest edition of ASTM Designation:  C-361 and price quote shall be included with the pipes.

REINFORCED CONCRETE PIPE - TONGUE & GROOVE PIPE SPECIFICATIONS

| REINFORCED CONCRETE PIPE - TONGUE & GROOVE PIPE SPECIFICATIONS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| CLASS III - ASTM C76 STANDARDS |  |  |  |  |  |  |
| PIPE | WALL | CONCRETE | CAGE |  |  | PIPE |
| I.D. | THICKNESS | STRENGTH |  |  |  | WEIGHT |
| (in) | (in) | (PSI) | TYPE | INNER | OUTER | (LBS) |
| 15 | 2.25 | 4,000 | SINGLE | 3"x6"-W1.75/W2.5 |  | 1,045 |
| 18 | 2.50 |  |  |  |  | 1,400 |
| 24 | 3.00 |  |  |  |  | 2,100 |
| 30 | 3.50 |  |  | 2"x8"-W5.0/W2.5 |  | 3,050 |
| 36 | 4.00 |  |  | 2"x8"-W6.0/W2.5 |  | 4,200 |
| 42 | 5.25 |  | DOUBLE | 3"x8"-W3.0/W2.0 | 3"x6"-W1.75/W2.5 | 6,250 |
| 48 | 5.75 |  |  | 3"x6"-W4.0/W2.5 | 3"x6"-W2.5/W2.5 | 8,100 |
| 54 | 6.25 |  |  | 3"x8"-W5.25/W2.5 | 3"x6"-W3.5/W2.5 | 9,420 |
| 60 | 6.75 |  |  | 2"x6"-W4.5/W2.5 | 3"x6"-W4.0/W2.5 | 11,500 |
| 72 | 7.75 |  |  | 2"x6"-W6.0/W2.5 | 3"x6"-W5.75/W3.0 | 15,900 |

| REINFORCED CONCRETE PIPE - TONGUE & GROOVE PIPE SPECIFICATIONS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| CLASS IV - ASTM C76 STANDARDS |  |  |  |  |  |  |
| PIPE | WALL | CONCRETE | CAGE |  |  | PIPE |
| I.D. | THICKNESS | STRENGTH |  |  |  | WEIGHT |
| (in) | (in) | (PSI) | TYPE | INNER | OUTER | (LBS) |
| 15 | 3.00 | 4,000 | SINGLE | 3"x6"-W2.5/W2.5 |  | 1,045 |
| 18 | 3.25 |  |  | 2"x6"-W2.5/W2.5 |  | 1,400 |
| 24 | 3.75 |  |  | 2"x6"-W4.5/W2.5 |  | 2,100 |
| 30 | 4.25 |  |  | 2"x8"-W6.0/W2.5 |  | 3,050 |
| 36 | 4.75 |  | DOUBLE | 2"x8"-W5.0/W3.0 | 3"x8"-W4.5/W2.5 | 4,200 |
| 42 | 5.25 |  |  | 3"x6"-W5.0/W2.5 | 3"x6"-W3.0/W2.5 | 6,250 |
| 48 | 5.75 |  |  | 3"x6"-W6.5/W3.0 | 3"x6"-W4.0/W2.5 | 8,100 |
| 54 | 6.25 |  |  | 2"x8"-W5.75/W3.0 | 3"x6"-W5.0/W2.5 | 9,420 |
| 60 | 6.75 |  |  | 2"x8"-W7.0/W3.0 | 3"x8"-W6.25/W3.0 | 11,500 |
| 72 | 7.75 | 5,000 |  | 2"x8"-W10.0/W4.0 | 2"x8"-W6.0/W2.5 | 15,900 |

| REINFORCED CONCRETE PIPE - TONGUE & GROOVE PIPE SPECIFICATIONS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| CLASS V - ASTM C76 STANDARDS |  |  |  |  |  |  |
| PIPE | WALL | CONCRETE | CAGE |  |  | PIPE |
| I.D. | THICKNESS | STRENGTH |  |  |  | WEIGHT |
| (in) | (in) | (PSI) | TYPE | INNER | OUTER | (LBS) |
| 15 | 3.00 | 6,000 | SINGLE | 3"x6"-W3.5/W2.5 |  | 1,045 |
| 18 | 3.25 |  |  | 3"x8"-W4.75/W2.5 |  | 1,400 |
| 24 | 3.75 |  |  | 3"x8"-W6.0/W2.5 |  | 2,100 |
| 30 | 4.25 |  | DOUBLE | 2"x8"-W7.0/W3.0 | 3"x8"-W6.25/W3.0 | 3,050 |
| 36 | 4.75 |  |  | 2"x8"-W8.25/W3.5 | 2"x8"-W5.0/W3.0 | 4,200 |
| 42 | 5.25 |  |  | 2"x8"-W6.0/W2.5 | 3"x8"-W5.75/W3.0 | 6,250 |
| 48 | 5.75 |  |  | 2"x8"-W8.0/W3.5 | 3"x8"-W7.0/W3.0 | 8,100 |
| 54 | 6.25 |  |  | 2"x8"-W10.0/W4.0 | 2"x8"-W6.0/W2.5 | 9,420 |
| 60 | 6.75 |  |  | 2"x8"-W11.5/W4.5 | 2"x8"-W7.0/W3.0 | 11,500 |
| 72 | 7.75 |  |  | 2"x6"-W8.5/W6.5 | 2"x8"-W10.0/W4.0 | 15,900 |

General Note:

- All welded wire fabric steel shall meet ASTM 82 and ASTM 185 standards.

- Aggregates shall meet ASTM C 33 standards.

- Fly ash shall meet ASTM C 618-97 standards.

- Type II cement shall meet ASTM C 150 standards.

- Concrete joint sealant shall meet ASTM C 990 standards.

- Concrete joint primer shall meet ASTM D 41 standards.

- The maximum lengths of pipe sections shall be 8 feet.