City of Texas City

Energy Master Plan

December 21st, 2009

City of Texas City:

Efficiency Opportunity

10% Electricity Reduction =

- $115,000 in annual savings based upon current rates and usage

- Utility-paid cash incentives for implementing qualified energy efficiency projects in 2010

- Improved usability / comfort in our offices, fire / police stations, and other city buildings

- Environmental benefits equivalent to taking roughly 150 cars off the road each year

- Positive PR in the community

Our Mission

Energy costs are an enormous expense for our nation's cities; energy is often one of the largest line items in a city’s budget. In order to significantly reduce such costs and improve energy efficiency, the City of Texas City is participating in the Texas-New Mexico Power CitySmart Program.  The no-cost program will assist in the identification of energy efficiency opportunities in our buildings, and help us to:

- Improve Working Environments

- Reduce Energy Expenditures

- Boost the Local Economy (through upgrade projects)

- Enhance Community Relations

The program provides technical and financial assistance for efficiency upgrades. Whether we are retrofitting an existing building or incorporating energy-efficiency technologies into new construction, we will identify and implement cost-effective projects that will allow us to use energy more efficiently. In addition, the Texas-New Mexico Power CitySmart Program will help us form a long-term strategy to address rising energy costs. As part of our participation and with assistance from the program, we have prepared this Energy Master Plan to outline where we are today and what steps we will undertake to improve the efficiency of our buildings in 2010 and beyond.

Strategies for Improvement

- By adopting certain energy management best practices, we can mobilize and coordinate our efforts toward reducing energy costs

- By adhering to the listed efficiency strategies, we can minimize the life-cycle cost associated with our energy-consuming equipment

Commitment

The Energy Master Plan is an adaptable, evolving document.  It is a starting point for consensus and uniform action, which will ensure that all appropriate departments and parties are informed of and involved in our plans.  Because it will adapt to changing needs and new information, it will never be “final” or concrete; however, approval of this plan will allow us to plan effectively and efficiently in terms of funding, personnel availability, and other restraints.

Project Implementation

- We have identified upcoming efficiency opportunities (e.g., older cooling systems, new construction), as well as “low-hanging fruit” (e.g., inefficient T12 lighting systems)

- Our utility will pay us cash incentives for incorporating energy efficiency into equipment replacement/installation (e.g., lighting, HVAC) at our facilities by December 1st, 2010

- We have recognized a few of our energy-related accomplishments

- Current Assessment

- Based on the utility bills and building information we provided, the Texas-New Mexico Power CitySmart Program compared our energy use to other buildings in Texas and the U.S.  The benchmarking process revealed our city buildings are performing below average overall.  We have attached more detailed assessments of each individual building in the Appendix.

- Our city is performing in the  34th percentile overall

- By reducing our current electricity consumption by 10 percent, we could save an estimated $115,000 in annual utility bills at the facilities included in the benchmarking analysis

| City of Texas City / City-Wide Summary |  |
| --- | --- |
| - Energy Benchmarks; - Average*; - Our City. - Energy Use Index (kBtu/sq.ft); - 84.4; - 123.1. - Energy Cost Index ($/sq.ft.); - $1.94; - $3.48. - Energy Cost per Occupant ($/occupant); - $1,800; - $3,653. | Percentile Ranking |
| *Average for similar buildings in similar climate regions | (Higher percentiles indicate lower energy use/lower costs) |

- In addition to facility performance benchmarking, our energy management methods were also scrutinized against recognized “best practices” in the following key focus areas:  Funding & Procurement, Planning & Decision-Making, Communication & Coordination, Evaluation & Assessment, Energy-Related Management Systems, Personnel & Skills, and Incentives.  Strengths in each category, along with strategies for improvement, are identified in the appendix.

Set Goals

The goal of implementing the Energy Master Plan is to avoid spending more money on energy than necessary. We attempted to quantify the “bottom-line effect” of improving the energy performance of our buildings.  For the seventeen facilities (fourteen buildings, two pump stations, one wastewater treatment plant) that we included in the analysis, the chart below estimates how much reducing our electricity consumption would save us on electricity utility bills.

| Annual Electricity Consumption (kWh) | Percent Reduction | Electricity Saved (kWh) | Our City’s Blended Rate | Annual Electricity Bill Savings |
| --- | --- | --- | --- | --- |
| 11,000,000 | 10% | 1,100,000 | $0.105 per kWh | $115,000 |
|  | 20% | 2,200,000 |  | $230,000 |
|  | 30% | 3,300,000 |  | $345,000 |

To illustrate savings potential in more specific terms, we sampled a lower-performing building. The Texas-New Mexico Power CitySmart Program staff helped us compare our building’s electricity cost to the local Texas average for city hall / office buildings. The chart below indicates that we can save considerably on our utility bills by moving toward the local Texas average.

| Building Name | Square Feet | Annual Electricity Cost |  | Annual Savings |
| --- | --- | --- | --- | --- |
|  |  | Our Building | Texas Avg |  |
| City Hall | 16,000 | $3.75/sq.ft. | $1.90/sq.ft. | $30,000 |

Create Action Plan

In benchmarking our procedures against recognized “best practices,” we confirmed a number of areas in which we want to improve our energy management methods.  The appendix provides a complete breakdown of short- and long-term steps toward improving energy management in each focus area.  However, the table below identifies the highest priority “next steps” for the City of Texas City:

| Focus Area | Target Audience | Priority Item |
| --- | --- | --- |
| Planning | Mayor / City Commission | Ask the Mayor and Public Works Director to monitor monthly energy costs on a more regular basis |
| Energy-Related Management | Energy Management Staff | Develop written design guidelines and minimum efficiency specifications for energy-consuming equipment for renovation / new construction projects and monitor monthly energy costs on a more regular basis |
| Evaluation and Assessment | Facilities Staff | Monitor monthly energy costs on a more regular basis and define performance metrics for evaluating our future energy management successes |
| Funding and Procurement | Financial Decision-Makers | Within each Department develop a budget line item or defined process for budgeting energy-efficiency improvement opportunities |

By continuing to refine our energy management practices at all organizational levels, we will ensure that we are getting the most out of our existing equipment and facilities. We will also position ourselves to identify, evaluate, and move forward with new energy efficiency investments on shorter timelines.

New construction, renovations, routine change-outs, and outdated and/or failing equipment all present opportunities to increase energy efficiency in our buildings. Unfortunately, many potential efficiency opportunities are left unrealized or delayed considerably. When less efficient equipment is installed or left in place, we incur higher utility costs over the life of the equipment.  By taking the “life-cycle cost” and “cost of delaying efficiency” into consideration during our project evaluations, we will equip ourselves to make sound financial decisions.

Working with the Texas-New Mexico Power CitySmart Program, we have identified the strategies listed below for achieving energy efficiency. We will evaluate the feasibility of each strategy separately, and consider incorporating into written guidelines or minimum specifications for energy-consuming equipment. By having our own target design specifications, we will ensure that energy efficiency is always a consideration in our buildings.

| Measure | Energy Efficiency Strategy |
| --- | --- |
| Lighting | 25% improvement over the lighting power density (LPD) guidelines put forth by the American Society of Heating, Refrigerating and Air-Conditioning Engineers (ASHRAE) 90.1 2004 |
|  | Work toward 40 foot-candles in office settings of new buildings and decrease current foot candles in each existing offices as replacement or renovations allow, moving more toward the guidelines of the Illumination Engineering Society of North America (IESNA) Lighting Handbook, 9th Edition |
|  | High-performance T8 lamps w/ premium efficiency ballasts in hallways, offices |
|  | High-bay fluorescents (T5, T8) in bay areas, multi-purpose rooms, and other applicable areas |
|  | Review and use automatic lighting controls (occupancy sensors, automatics daylight controls, time clock controls) and adjustable lighting level strategies (Bi-level switching) where they make sense. |
| HVAC | System size closely matches the actual building loads, thus increasing operating efficiency, reducing operating costs, and extending equipment service life |
|  | Improvement over minimum equipment efficiencies specified in ASHRAE 90.1 2004 |
|  | Usage of demand control ventilation |
| Roofing | ENERGY STAR®-labeled Cool Roof materials |
|  | Increased insulation value on roofing systems |
| Window | Thermo pane, low-emissivity glass, thermal break frames in new buildings or major renovations that affect windows |

Implement Action Plan

Consistent with the action plan above, we have already undertaken specific energy reduction projects. We will verify the savings estimates of the projects listed below in more detail in the future; however for now the Texas-New Mexico Power CitySmart Program has helped us estimate the economic benefits associated with the projects recently implemented at the City of Texas City.  As we identify more potential opportunities for energy efficiency in our city buildings, we will add to this list in the future:

| Building(s) | Energy Efficiency Opportunity | General Description of Opportunity | Est Payback (Years) | Est 7-Year Savings Potential |
| --- | --- | --- | --- | --- |
| Criminal Justice Center | Upgrade Lighting | Retrofitted first generation T8 systems by de-lamping to two high-efficiency T8s with reduced output ballasts in offices | <3.0 | $50,000 |
| Convention Center | Upgrade Lighting | Retrofitted existing T12s with high-efficiency T8 lighting with reduced output ballasts in conference rooms & offices | <3.0 | $75,000 |
| Lowry Center Natatorium | Upgrade Lighting | Replaced 400W metal halides with high-bay T5 HO lighting systems | <4.0 | $64,000 |
| City Hall | Upgrade Lighting | Retrofitted existing T12s with high-efficiency T8 lighting with reduced output ballasts in offices | <3.0 | $40,000 |

In addition to the energy and maintenance cost savings that will result from a given project, Texas-New Mexico Power Energy will pay us cash incentives to offset some of the implementation cost.  Texas-New Mexico Power will pay us at the incentive levels indicated below, subject to some limits (which we do not expect to exceed) for all projects completed by December 1, 2010.

| Energy Efficiency Measure(s) | Incentive |
| --- | --- |
| Lighting, Roofing, Windows, HVAC | $165 per kW saved |

Recognizing Achievements

In addition to joining the Texas-New Mexico Power CitySmart Program, we have already taken a number of steps to reduce our city’s energy use:

Upgraded to more efficient fluorescent lighting & HVAC systems in many buildings

We already observe about 50% of recognized best practices in energy management

Because of these and other previous initiatives, we performed well in the following areas in our benchmarking results:

- Our City Hall Annex, Library, North Shop, and Museum all scored near or above 50 when benchmarked against energy use building averages from the Texas area

- All of our city buildings scored near or above 25 when benchmarked against the Texas area

We anticipate that by implementing projects identified through this Energy Master Plan and adopting energy management best practices, we will continue to improve our energy performance and reduce expenditures, which will allow more of our budget to be spent where it should – improving our citizens’ daily lives.

Endorsement

Although we will seek approval of individual projects and expenditures separately, we request a review and endorsement of this plan.  This will ensure that the Facilities Department has a clear understanding of the input, concerns, and support of the City Manager, City Council, and management.

The following people contributed to this plan:

Nick Finan – Director of Management Services

Glen Riske – Construction Services Superintendent

Steve Booker – Crew Leader – Construction Services

Tony Mancuso – Maintenance – Construction Services

Kyle Schaper – Accountant – Accounting

Prepared and Submitted by:

______________________________________________________Date__________

Director of Management Services

Endorsed by:

______________________________________________________Date__________

Mayor

______________________________________________________Date__________

City Secretary

Energy Master Planning

City of Texas City Appendix

Funding & Procurement

Finding funds to improve existing buildings is always a challenge. Energy reduction projects, however, are often cost-effective and can even be self-funding. Nevertheless, we also understand that many funding or financing options for energy projects may have a level of complexity or risk not ideally suited for our city buildings.

Existing Strengths

• We incorporate the cost of not doing the project (e.g. maintaining the status quo) into our calculations when evaluating energy-efficiency projects

• We have management support to identify and install energy efficiency-improvements quickly (if justified)

• We have departmental criteria and authority for approving improvement projects (eg. Less than one year payback)

• We have a list of potential vendors to perform energy assessments and for other energy-related products and services

• We use purchasing or pricing lists from outside the city to procure energy assessments and/or improvements

Short-term Action Items

• Take full advantage of the available incentive dollars through the 2010 CitySmart Program to make our energy improvement projects even more cost effective

• Establish a budget line item or a defined process for budgeting energy‐efficiency improvement expenditures

• Make funding available for energy‐efficiency improvement projects in this year’s budget

• Establish a strategic plan for budgeting energy‐efficiency improvements for the next 2‐5 years during budget process

Long-term Action Items

• Investigate other funding options beyond using City Council approved capital budgets (such as grants, loans, performance contracts, lease purchase agreements, etc)

Planning and Decision-Making

We understand that inefficiency is often the result of low priority for building and operating high-performance buildings. We strive to place more importance on our planning regarding new building design, energy reduction projects in existing buildings, and our daily operational activities that impact energy performance.

Existing Strengths

• Our Mayor and/or City Commission has made reducing energy costs a stated priority

• Our city has established the non-financial criteria (e.g. lighting quality, IAQ, environmental) to consider when making decisions on energy-efficiency improvements

• We have a list of energy-efficiency improvements completed at our city within the last five years

• We have identified additional energy improvement opportunities, but not yet implemented them

Short-term Action Items

• Develop a written energy action plan for the next 1-5 years that includes performance goals, benchmarks, and other metrics regarding energy use and costs

• Ask the Mayor to monitor monthly energy costs

• Recommend to the Mayor and/or City Commission written strategic direction for energy performance goals for the budget process

• Make recommendations to the Mayor for energy performance goals

• Establish a written energy policy or mission statement (usually <1 page)

Long-term Action Items

• Have a regular review of goals, plans, and successes to date compared to the plan

• Establish written guidelines for building operations (such as building usage, operating hours, personal refrigerators/heaters and plug loads), and enforce them regularly

Communication and Coordination

Energy costs are a significant expenditure and some portion is a controllable cost. To successfully manage energy costs, the facilities department needs to communicate regularly and effectively with the City Manager, City Council, Department Heads, and other personnel.

Existing Strengths

• We provide reports to the Mayor and/or City Commission on energy use and cost at least quarterly

Short-term Action Items

• Make sure that all departmental, facility, administration, and senior managers/directors view energy costs as a controllable expense

• Provide reports to our Department Heads on energy use and cost at least quarterly

• Setup regular meetings between our facilities staff and Mayor to discuss energy performance

• Ensure that energy use, costs, and improvements are routinely addressed at staff meetings (e.g. Department Heads, Directors)

Long-term Action Items

• Communicate the importance of managing energy costs and the priority for energy performance to building-based staff (e.g., Department Heads, managers, employees, custodians)

• Establish an Energy Awareness Program for Department Heads, custodial staff, and/or building occupants

Evaluation, Assessment, and Monitoring

We need to establish a baseline and maintain ongoing benchmarks of how our buildings perform so we can determine the value of making improvements. This will allow us to recommend priorities for building improvements in an environment of limited resources (funding & staff).

Existing Strengths

• We know: 1) the energy operating cost of each building, 2) how each building ranks by various energy performance metrics, 3) how each building compares both within and outside our city

• We have prioritized facilities with the highest energy use for assessment and improvement

• We know the systems (examples: chillers, boilers, kitchens, natatorium) within our facilities that are the highest cost to operate

• We have conducted building “walk-through” opportunity-assessment surveys to identity energy saving opportunities in our facilities

• We have conducted inventory surveys to list all energy-using equipment in our facilities

Short-term Action Items

• Evaluate the building performance benchmarking reports from the CitySmart Program that compare our buildings to others in Texas and across the U.S.

• Establish Key Performance Factors for building operations

• Define performance metrics for evaluating our future energy management successes

• Review utility bills for useful information on energy use and costs

Long-term Action Items

• Revisit the CitySmart “best practices” questionnaire in 2010 and beyond to evaluate and identify additional actions the city can take to improve our energy performance

• Monitor daily or monthly energy use to look for variations from the normal energy use, and then analyze and resolve the causes of those variations

• Track energy use for each large energy-using system for multiple years

• Conduct an audit in a facility when necessary utilizing city staff with knowledge of electrical systems.

Energy Management Processes

Given the importance, complexity, and cost of energy utilization in the city, we strive to have management policies and procedures that promote effective energy management.

Existing Strengths

• We have written performance specifications and Operating & Maintenance procedures/manuals for each major energy-using system (example: chillers, boilers)

• We monitor and adjust system operations when occupancy, demands, or loads are reduced (examples: temperature setbacks, lighting controls)

• We have applied solar film for windows, solar panel heating systems for the Natatorium large water heating system, and solar panels for electricity in new buildings

Short-term Action Items

• On new facilities with windows that allow outside lighting seek classroom lighting levels be at 40-50 foot candles for new construction to ensure that rooms are not over lit. Strive to purchase higher efficiency (15 or 16+ SEER) A/C equipment when replacing units

• Commission new equipment and facilities with testing and verification of performance at startup

• Perform "retro-commission" of older & high-operating cost systems over last few years (e.g. every 5-7 years)

• Develop written design guidelines and minimum efficiency specifications for energy-consuming equipment for renovation and improvement projects

• Develop written design guidelines and minimum efficiency specifications for energy-consuming equipment for new construction

Long-term Action Items

• Consider adopting the following operating practices: 1) Establish HVAC set points to "lock out" thermostats, 2) Eliminate for personal use refrigerators, microwaves, space heaters, etc,

• Research additional opportunities for improving energy performance, such as installing LED signs, ENERGY STAR roofs, increased levels of insulation, occupancy sensors, and more effective control systems.

• Develop a process for continuous learning about new energy-efficiency technologies and best energy management practices

Personnel and Skills

Our city must employ personnel with adequate and appropriate skills to manage energy performance and costs. Moreover, our staff needs to have the responsibility, accountability, incentives, and time to consistently tackle the challenges of effective energy management.

Existing Strengths

• Our city employs personnel that have the skills to identify opportunities and manage energy use effectively

Short-term Action Items

• Identify ways that we can increase the amount of time that our energy management personnel have to focus on improving buildings' energy performance

• Assign individuals to be responsible for the energy performance of all our facilities

• Ensure that our energy management personnel have the required authority and management relationships to perform the job effectively

• Clearly define job performance and accountability for our key energy management personnel

Long-term Action Items

• Provide training and advancement opportunities for our key energy management personnel

• Assign energy management responsibilities to building-based personnel (example: janitorial, energy coordinator, Dept. Heads)

• Support opportunities for your energy management personnel to receive awards and industry recognition for exemplary accomplishment

• Provide recognition for exemplary energy performance for energy management personnel (awards, prizes)

Priority and Incentives

We want to fully utilize all technical support, incentives, rebates, grants and other external resources that are available. Moreover, we will ensure that we understand the city's priorities, communicate with all stakeholders related to energy management, and address priorities in our planning and actions.

Existing Strengths

• Our city has prioritized the need to improve energy efficiency and reduce costs

• Our city has identified the personnel that must initiate action for energy efficiency to occur

• Our city has identified the personnel that must endorse and approve action for energy efficiency

• The personnel that are involved with energy efficiency at our city have clear incentives to act toward reducing energy costs

• We usually plan energy-efficiency improvements to take maximum advantage of outside technical assistance and financial incentives

Short-term Action Items

• Take full advantage of the available incentive dollars through the 2010 CitySmart Program to make our energy improvement projects even more cost effective

• Apply for financial assistance from other sources such as LoanSTAR and SECO

• Provide the City Commission with information regarding upcoming budget needs and targeted projects

Long-term Action Items

• Establish a formal process to track the availability of incentives and financial/technical assistance for energy projects, taking maximum advantage of such opportunities

• Work with the CitySmart Program to get qualifying buildings labeled as ENERGY STAR by the U.S. EPA

• Apply for recognition for energy performance practices/improvements